## 00 Cover
RMM 2026 HEAVY CIVIL BENCHMARK MASTER - Canada-Wide Unit Rates with Multi-Source Comparison
Prepared for Ausenco / NexGold Goldboro FS 2026 benchmarking and bidder vetting. Single self-contained reference document.
AUTHOR | Rick Miller, Senior Project Director / EPCM
DOCUMENT | RMM-BENCHMARK-CANADA-2026-V3
ISSUE DATE | Q2 2026
BASE YEAR / CCY | Q2 2026 / Canadian Dollars (CAD)
PREPARED FOR | Ausenco Engineering Canada / NexGold Mining Corp. - Goldboro FS 2026 civil benchmark vetting and bidder submission evaluation. Shared internally with Carter's Mechanical Consulting principal as engagement reference.
CONFIDENTIALITY | Internal working document. Confidential and proprietary. Bidder pricing references are subject to the Goldboro C5027 tender confidentiality terms. Not for redistribution outside Ausenco / NexGold / Carter's principal.
PURPOSE | Single self-contained 2026 heavy civil benchmark for: (a) issuing to bidders alongside tender packages as the reference market data; (b) back-pressuring out-of-range bidder submissions ('your culvert rate is 2× the NS market median, please explain'); (c) handing to owner / EPCM (Ausenco, NexGold) as defensible internal estimating standard; (d) cross-calibrating own estimates against multiple real 2026 data points.
WHAT MAKES THIS DEFENSIBLE | Every line item carries up to 6 cross-referenced data points: (1) Author SME range by region (Canada-wide, 7 regions); (2) GHD Goldboro 2026 vendor-quoted real-print pricing (Atlantic NS anchor; from GHD project file Apr 14, 2026); (3) Alberta Transportation 2026 UPA (highway tender baseline, weighted avg of 3 low bids May 2024 – Sep 2025, public data); (4) Rick Miller Q2 2026 operator intel (tandem $150/hr; wiggle wagon $200/hr; crushing 'through the roof'); (5) Goldboro C5027 5-bidder April 2026 submissions (Bird, Dexter, GIP, Greenfields, Nova - real contractor market); (6) Statistics Canada Q1 2026 BCPI (+3.6% YoY non-residential macro context).
STRUCTURE | 9 tabs total: 00 Cover - 01 Rate Schedule (unit-rate master with regional ranges, anchors, bidder submissions, operational deltas + flags) - 02 Equipment Rates (hourly equipment by region) - 03 Regional Adjustors - 04 Vetting Workflow - 05 Sources and Methodology - 06 Coverage Summary - 07 Project Pricing (operational rollup) - 08 Data Integrity QC
COVERAGE - SCOPE | 180 canonical scope unit rate items across 25 sections (A-Y) covering end-to-end mining heavy civil: earthworks, water mgmt, roads, WRSA/TMF, drainage, concrete, steel, closure, blasting, dewatering, buried services, fencing, signage, rock anchors, culvert structures, crushing, underground civil, tailings dam zoned, heap leach pads, process plant civil, slurry pipelines, mine bridges, power line civil, hydraulic structures.
COVERAGE - EQUIPMENT | Tab '02 Equipment Rates' carries 30 equipment hourly rates (trucks, excavators, dozers, graders, compactors, loaders, drills, cranes, pumps) with the same regional cross-reference + Rick Q2 2026 intel anchors for tandem ($150/hr) and 45T wiggle wagon ($200/hr).
COVERAGE - REGIONAL | 7 Canadian regions: NL / NS / ON / MB-SK / AB / BC / YT-NWT. Base SME range adjusted by published regional factor (per Sheet 03).
HOW TO USE | Open Tab 01. Each row = one scope item. Columns grouped by source: regional ranges first (Atlantic / Central / Western / Northern colour bands), then anchors (GHD Goldboro + AB UPA + Rick intel in gold), then bidder submissions (red), then RECOMMENDED 2026 rate (yellow). For equipment hourly rates use Tab 02. To benchmark a bidder quote: find item, read your regional column, compare to bidder column, check vs anchors. Use Tab 04 Vetting Workflow for the 8-step push-back process.
VETTING DECISION RULE | If bidder rate is WITHIN your regional Low-High range → accept (within market). If OUTSIDE the range, check the 3 anchor columns (GHD Goldboro / AB UPA / Rick intel) and the bidder spread. If bidder is OUTSIDE all anchors and >2× regional ceiling or <0.5× regional floor → clarification letter to bidder citing the deltas.
WHAT'S NOT IN THIS FILE | Methodology detail (burden composite, escalation lanes, productivity factor library, etc.) lives in the parent RMM-CIVIL-CANADA-2026-MANUAL-REV5.xlsx (28-tab full estimating standard, ~120 KB) - cited in Sheet 05 Sources. This file is the OPERATIONAL distillation of that manual for bid review and benchmark use.
LIMITATIONS | Specialty mining sections (Underground / Bridges / Power Line / Hydraulic - sections R, W, X, Y) carry SME-only ranges because public market benchmark data does not exist for these scopes in Canada. Flagged as LOW confidence on Sheet 06. Validate against project-specific RFQ for Class 2/1 estimates.

## 01 Rate Schedule
RMM 2026 HEAVY CIVIL BENCHMARK MASTER - Rate Schedule (Canada-wide, GHD-style layout)
Atlantic GREEN / Central PURPLE / Western ORANGE / Northern BROWN. Anchors GOLD. Bidder submissions RED. RECOMMENDED YELLOW.
IDENTIFICATION |  |  |  | ATLANTIC (NL / NS) |  |  |  | CENTRAL (ON / MB-SK) |  |  |  | WESTERN (AB / BC) |  |  |  | NORTHERN (YT/NWT/NU) |  | REFERENCE ANCHORS (Real 2026) |  |  | C5027 BIDDER SUBMISSIONS — Individual Rates (Apr 2026) |  |  |  |  | BIDDER STATS (per-rate) |  |  |  | RMM RECOMMENDED 2026 | VETTING / MATCH BASIS |  | BIDDER MED Δ% | GHD Δ% | FLAG
WBS L4 | Code | Description / Scope | UOM | NL Low | NL High | NS Low | NS High | ON Low | ON High | MB/SK Low | MB/SK High | AB Low | AB High | BC Low | BC High | YT/NWT Low | YT/NWT High | GHD Goldboro 2026 | AB UPA 2026 | Rick Anchor | Bird | Dexter | GIP | Greenfields | Nova | Bidder Min | Bidder Med | Bidder Max | Spread % | 2026 $ / UOM | Vetting Note | Match Basis | Bidder Med vs REC | GHD vs REC | FLAG
A. Earthworks
| C-10-004 | Backfill Type 1 (<250mm) - spread and compact | m3 | 37 | 55 | 35 | 53 | 41 | 61 | 40 | 56 | 42 | 70 | 44 | 68 | 52 | 81 | 85 | - | - | 66.45 | 51.94 | 15.54 | 12.44 | 40 | [5 empty] | OK — sources align | keyword-matched
| C-10-005 | Backfill Type 2 (<100mm) - spread and compact | m3 | 51 | 71 | 48 | 69 | 56 | 80 | 55 | 73 | 58 | 92 | 61 | 88 | 72 | 105 | 85 | - | - | 66.45 | 51.94 | 15.54 | 12.44 | 40 | [5 empty] | OK — sources align | keyword-matched
| C-10-006 | Backfill Type 3 engineered - spread and compact | m3 | 66 | 92 | 63 | 90 | 73 | 104 | 72 | 95 | 76 | 119 | 79 | 114 | 94 | 136 | 85 | - | - | 66.45 | 51.94 | 15.54 | 12.44 | 40 | [5 empty] | OK — sources align | keyword-matched
| C-10-003 | Backfill common - spread and compact | m3 | 20 | 29 | 19 | 29 | 22 | 33 | 22 | 30 | 23 | 38 | 24 | 36 | 29 | 43 | 85 | 15.22 | - | 66.45 | 51.94 | 15.54 | 12.44 | 40 | [5 empty] | OK — sources align | keyword-matched
| C-10-014 | Cut-fill balanced earthworks - large-scale | m3 | 20 | 32 | 19 | 31 | 22 | 35 | 22 | 32 | 23 | 40 | 24 | 39 | 29 | 46 | - | - | - | 30.15 | 51.94 | 40.39 | 26.47 | 25 | [5 empty] | OK — sources align | category-fallback
| C-10-016 | Drill and blast holes only - excavation separate | m3 | 39 | 68 | 37 | 66 | 43 | 77 | 42 | 70 | 44 | 88 | 46 | 84 | 55 | 101 | 14800 | - | - | 5.7 | 13.98 | 8.92 | 10.7 | 27.5 | [5 empty] | OK — sources align | category-fallback; keyword-matched
| C-10-002 | Excavation common soil - load + haul 1-3 km | m3 | 22 | 34 | 21 | 33 | 24 | 38 | 24 | 35 | 25 | 43 | 26 | 42 | 31 | 50 | 26 | 8.2 | - | 51.65 | 19.12 | 11.42 | 12.44 | 70 | [5 empty] | OK — sources align | keyword-matched
| C-10-009 | Granular A base (<19mm) - supply+place+compact | m3 | 97 | 142 | 92 | 138 | 107 | 159 | 105 | 146 | 110 | 182 | 116 | 176 | 136 | 209 | 50 | 34.27 | - | 116 | 51.94 | 36.72 | 12.44 | 70 | [5 empty] | OK — sources align | keyword-matched
| C-10-010 | Granular B sub-base (<75mm) - supply+place+compact | m3 | 81 | 121 | 77 | 117 | 90 | 136 | 88 | 124 | 92 | 155 | 97 | 150 | 114 | 178 | 50 | - | - | 50.85 | 61.02 | 27.51 | 12.44 | 40 | [5 empty] | OK — sources align | size-matched
| C-10-008 | Overburden strip - doze + rip + stockpile | m3 | 17 | 29 | 16 | 29 | 18 | 33 | 18 | 30 | 19 | 38 | 20 | 36 | 23 | 43 | - | - | - | 30.15 | 17.2 | 8.79 | 26.47 | 15 | [5 empty] | OK — sources align | category-fallback
| C-10-007 | Rock excavation - blasted and loaded to truck | m3 | 35 | 61 | 33 | 59 | 39 | 68 | 38 | 63 | 40 | 78 | 42 | 75 | 49 | 90 | - | - | - | 8.75 | 16.34 | 19.39 | 10.3 | 13.5 | [5 empty] | OK — sources align | keyword-matched
| C-10-011 | Sand bedding layer - supply+place+compact | m3 | 106 | 152 | 101 | 148 | 117 | 171 | 115 | 157 | 121 | 196 | 127 | 188 | 150 | 225 | 91.034 | - | - | 116 | 51.94 | 36.72 | 12.44 | 70 | [5 empty] | OK — sources align | keyword-matched
| C-10-013 | Seeding and restoration - hydraulic | m2 | 4 | 8 | 4 | 8 | 4 | 9 | 4 | 9 | 4 | 11 | 4 | 10 | 5 | 12 | - | - | - | 11.1 | — | 14.54 | — | 5 | [5 empty] | OK — sources align | category-fallback
| C-10-015 | Settling pond / water management excavation | m3 | 20 | 29 | 19 | 29 | 22 | 33 | 22 | 30 | 23 | 38 | 24 | 36 | 29 | 43 | 2.47 | - | - | 9.95 | 14.4 | 45.33 | 10.7 | 9.5 | [5 empty] | OK — sources align | keyword-matched
| C-10-012 | Topsoil placement - supply+spread | m3 | 51 | 84 | 48 | 82 | 56 | 94 | 55 | 86 | 58 | 108 | 61 | 104 | 72 | 124 | 10 | - | - | 13.95 | 49.78 | 9.68 | 12.44 | 15 | [5 empty] | OK — sources align | keyword-matched
B. Water Mgmt
| C-20-005 | Energy dissipator riprap - full S+P | m3 | 110 | 210 | 106 | 204 | 122 | 236 | 120 | 216 | 126 | 270 | 132 | 260 | 156 | 310 | 19.657 | - | - | 66.45 | 70.1 | 45.33 | 9.42 | 60 | [5 empty] | OK — sources align | keyword-matched
| C-20-006 | Geotextile 10oz non-woven cushion - S+I | m2 | 4 | 9 | 4 | 9 | 4 | 11 | 4 | 10 | 4 | 12 | 4 | 12 | 5 | 14 | 6 | - | - | 16.6 | 5.68 | 10.86 | 1.4 | 5 | [5 empty] | OK — sources align | size-matched
| C-20-007 | Geotextile 6oz non-woven separator - S+I | m2 | 3 | 6 | 3 | 6 | 3 | 7 | 3 | 6 | 3 | 8 | 3 | 8 | 4 | 9 | 6 | 2.82 | - | 16.6 | 5.68 | 10.86 | 1.4 | 5 | [5 empty] | OK — sources align | keyword-matched
| C-20-002 | Riprap D50 150mm entrance/exit - supply+place | m3 | 60 | 105 | 57 | 102 | 66 | 118 | 65 | 108 | 68 | 135 | 72 | 130 | 84 | 155 | 19.657 | 313.41 | - | 66.45 | 70.1 | 45.33 | 12.44 | 40 | [5 empty] | OK — sources align | size-matched
| C-20-003 | Riprap D50 300mm - supply+place | m3 | 69 | 126 | 66 | 122 | 76 | 142 | 75 | 130 | 79 | 162 | 82 | 156 | 98 | 186 | - | 265.82 | - | 35.25 | 51.94 | 11.42 | 12.44 | 40 | [5 empty] | OK — sources align | size-matched
| C-20-004 | Riprap D50 600mm heavy - supply+place | m3 | 78 | 147 | 75 | 143 | 87 | 165 | 85 | 151 | 89 | 189 | 94 | 182 | 110 | 217 | - | - | - | 66.45 | 85.97 | 13.85 | 12.44 | 60 | [5 empty] | OK — sources align | size-matched
| C-20-010 | Sediment dewatering bag - S+I | ea | 1104 | 1680 | 1056 | 1632 | 1224 | 1888 | 1200 | 1728 | 1260 | 2160 | 1320 | 2080 | 1560 | 2480 | 1171.5 | - | - | 8570 | 34.56 | 766.65 | — | 2500 | [5 empty] | OK — sources align | keyword-matched
| C-20-008 | Silt fence heavy duty - supply+install | m | 17 | 29 | 16 | 29 | 18 | 33 | 18 | 30 | 19 | 38 | 20 | 36 | 23 | 43 | 50 | 15.16 | - | 22.7 | 34.56 | 23.4 | 10.59 | 12 | [5 empty] | OK — sources align | keyword-matched
| C-20-009 | Straw bale flow check dam - supply+install | m | 20 | 34 | 19 | 33 | 22 | 38 | 22 | 35 | 23 | 43 | 24 | 42 | 29 | 50 | 24.5344 | - | - | 30.75 | 27.64 | 27.43 | 10.59 | 40 | [5 empty] | OK — sources align | keyword-matched
| C-20-011 | Temp pump diesel submersible 8-wk rental | ea | 6900 | 9975 | 6600 | 9690 | 7650 | 11210 | 7500 | 10260 | 7875 | 12825 | 8250 | 12350 | 9750 | 14725 | 70612.5461 | - | - | 174300 | — | — | — | — | — |  | — | — |  | Only 1/5 bidders priced — limited market signal | category-fallback |  |  | —
C. Roads/Pads
| C-30-005 | Asphalt paving 50mm HL3 surface course | m2 | 41 | 65 | 40 | 63 | 46 | 73 | 45 | 67 | 47 | 84 | 50 | 81 | 58 | 96 | - | - | - | 30.6 | 36.27 | 19.18 | 2.3 | 20 | [5 empty] | OK — sources align | category-fallback
| C-30-007 | Equipment pad concrete 300mm slab on grade | m2 | 170 | 278 | 163 | 270 | 189 | 313 | 185 | 286 | 194 | 358 | 204 | 344 | 240 | 411 | 947.0784 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| C-30-006 | Equipment pad granular 600mm - heavy duty | m2 | 46 | 74 | 44 | 71 | 51 | 83 | 50 | 76 | 52 | 94 | 55 | 91 | 65 | 108 | 50 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| C-30-008 | Geotextile separation under road base - S+I | m2 | 3 | 5 | 3 | 5 | 3 | 6 | 3 | 5 | 3 | 7 | 3 | 6 | 4 | 8 | - | - | - | 4.9 | 5.68 | 10.86 | 1.4 | 5 | [5 empty] | OK — sources align | keyword-matched
| C-30-003 | Granular sub-base 300mm - supply+place+compact | m2 | 29 | 47 | 28 | 46 | 33 | 53 | 32 | 49 | 34 | 61 | 35 | 58 | 42 | 70 | 50 | - | - | 30.6 | 36.27 | 19.18 | — | 75 | [5 empty] | OK — sources align | category-fallback
| C-30-004 | Granular surface course 150mm - supply+place | m2 | 20 | 34 | 19 | 33 | 22 | 38 | 22 | 35 | 23 | 43 | 24 | 42 | 29 | 50 | 1000 | - | - | 30.6 | 36.27 | 19.18 | 2.3 | 75 | [5 empty] | OK — sources align | category-fallback
| C-30-002 | Haul road - sub-grade preparation only | m2 | 13 | 23 | 12 | 22 | 14 | 26 | 14 | 24 | 15 | 30 | 15 | 29 | 18 | 34 | 26 | - | - | 8.42 | 7.89 | 10.86 | 1.4 | 8.5 | [5 empty] | OK — sources align | keyword-matched
| C-30-009 | Road crown and ditching - motor grader finish | m | 5 | 10 | 4 | 10 | 5 | 12 | 5 | 11 | 5 | 14 | 6 | 13 | 6 | 16 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
D. WRSA/TMF
| C-40-006 | Filter zone drainage blanket 19mm - supply+place | m3 | 110 | 184 | 106 | 178 | 122 | 206 | 120 | 189 | 126 | 236 | 132 | 228 | 156 | 271 | 13 | - | - | 41.25 | 51.94 | 11.42 | 12.44 | 32 | [5 empty] | OK — sources align | keyword-matched
| C-40-007 | Geonet/geocomposite drainage layer - S+I | m2 | 15 | 25 | 14 | 24 | 16 | 28 | 16 | 26 | 17 | 32 | 18 | 31 | 21 | 37 | 13 | - | - | 30.6 | 10.11 | 19.18 | 0.83 | 20 | [5 empty] | OK — sources align | keyword-matched
| C-40-005 | HDPE 1.5mm liner - full S+I+CQA | m2 | 20 | 36 | 19 | 35 | 22 | 40 | 22 | 37 | 23 | 46 | 24 | 44 | 29 | 53 | 15 | - | - | 30.6 | 36.27 | 19.18 | 2.3 | 20 | [5 empty] | OK — sources align | category-fallback; keyword-matched
| C-40-004 | HDPE 2mm (80mil) liner - full S+I+CQA | m2 | 28 | 50 | 26 | 49 | 31 | 57 | 30 | 52 | 32 | 65 | 33 | 62 | 39 | 74 | 15 | - | - | 30.6 | 36.27 | 19.18 | 2.3 | 20 | [5 empty] | OK — sources align | size-matched; category-fallback
| C-40-008 | Protective cover soil over liner - place+compact | m3 | 28 | 47 | 26 | 46 | 31 | 53 | 30 | 49 | 32 | 61 | 33 | 58 | 39 | 70 | 51227.1612 | - | - | 116 | 51.94 | 11.42 | 12.44 | 70 | [5 empty] | OK — sources align | keyword-matched
| C-40-002 | TMF embankment common fill Zone A/B | m3 | 20 | 34 | 19 | 33 | 22 | 38 | 22 | 35 | 23 | 43 | 24 | 42 | 29 | 50 | - | - | - | 6.2 | 49.78 | 11.42 | 12.44 | 13.5 | [5 empty] | OK — sources align | keyword-matched
| C-40-003 | TMF embankment random rockfill Zone C | m3 | 17 | 29 | 16 | 29 | 18 | 33 | 18 | 30 | 19 | 38 | 20 | 36 | 23 | 43 | - | - | - | 5.95 | 31.88 | 10.17 | 12.44 | 14.25 | [5 empty] | OK — sources align | keyword-matched
| C-40-009 | TMF perimeter ditch - cut+shape+riprap lined | m | 258 | 441 | 246 | 428 | 286 | 496 | 280 | 454 | 294 | 567 | 308 | 546 | 364 | 651 | 19.657 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
E. Drainage/Culverts
| C-50-004 | CSP culvert 1050mm - S+I+bedding | m | 736 | 1071 | 704 | 1040 | 816 | 1204 | 800 | 1102 | 840 | 1377 | 880 | 1326 | 1040 | 1581 | - | 824.24 | - | 1530 | 5426.83 | 4755.47 | 1553.31 | 9250 | [5 empty] | OK — sources align | category-fallback
| C-50-005 | CSP culvert 1200mm - S+I+bedding | m | 1012 | 1470 | 968 | 1428 | 1122 | 1652 | 1100 | 1512 | 1155 | 1890 | 1210 | 1820 | 1430 | 2170 | - | - | - | 930 | 4526.67 | 4755.47 | 746.07 | 7200 | [5 empty] | OK — sources align | size-matched
| C-50-002 | CSP culvert 750mm - S+I+bedding | m | 534 | 788 | 510 | 765 | 592 | 885 | 580 | 810 | 609 | 1013 | 638 | 975 | 754 | 1162 | - | - | - | 1530 | 5426.83 | 4755.47 | 1553.31 | 9250 | [5 empty] | OK — sources align | category-fallback
| C-50-003 | CSP culvert 900mm - S+I+bedding | m | 626 | 924 | 598 | 898 | 694 | 1038 | 680 | 950 | 714 | 1188 | 748 | 1144 | 884 | 1364 | - | 720.58 | - | 1530 | 5426.83 | 4755.47 | 1553.31 | 9250 | [5 empty] | OK — sources align | category-fallback
| C-50-009 | CSP flow guard 1200mm - S+I | ea | 7820 | 11025 | 7480 | 10710 | 8670 | 12390 | 8500 | 11340 | 8925 | 14175 | 9350 | 13650 | 11050 | 16275 | 4724.5 | - | - | 872 | 4146.73 | 639.05 | — | 3400 | [5 empty] | OK — sources align | size-matched; category-fallback
| C-50-006 | CSP flow guard 600mm - S+I | ea | 2300 | 3360 | 2200 | 3264 | 2550 | 3776 | 2500 | 3456 | 2625 | 4320 | 2750 | 4160 | 3250 | 4960 | 4724.5 | - | - | 465 | 4146.73 | 639.05 | — | 3400 | [5 empty] | OK — sources align | size-matched; category-fallback
| C-50-007 | CSP flow guard 750mm - S+I | ea | 9660 | 13650 | 9240 | 13260 | 10710 | 15340 | 10500 | 14040 | 11025 | 17550 | 11550 | 16900 | 13650 | 20150 | 4724.5 | - | - | 523 | 4146.73 | 639.05 | — | 3400 | [5 empty] | OK — sources align | size-matched; category-fallback
| C-50-008 | CSP flow guard 900mm - S+I | ea | 12880 | 18375 | 12320 | 17850 | 14280 | 20650 | 14000 | 18900 | 14700 | 23625 | 15400 | 22750 | 18200 | 27125 | 4724.5 | - | - | 697 | 2073.37 | 639.05 | — | 3800 | [5 empty] | OK — sources align | size-matched
| C-50-015 | Clear stone discharge pipe 450mm - S+I | m | 368 | 546 | 352 | 530 | 408 | 614 | 400 | 562 | 420 | 702 | 440 | 676 | 520 | 806 | 264.825 | - | - | 415 | 85.97 | 1193.04 | 336.13 | 450 | [5 empty] | OK — sources align | size-matched; category-fallback
| C-50-016 | Discharge trench clear stone - supply+place | m3 | 124 | 184 | 119 | 178 | 138 | 206 | 135 | 189 | 142 | 236 | 148 | 228 | 176 | 271 | 126.2294 | - | - | 54.7 | 14.4 | 15.54 | 12.44 | 30 | [5 empty] | OK — sources align | keyword-matched
| C-50-010 | HDPE 100mm DR11 buried - excav+install+BF | m | 285 | 420 | 273 | 408 | 316 | 472 | 310 | 432 | 326 | 540 | 341 | 520 | 403 | 620 | 95164.608 | - | - | 490 | 1266.76 | 826.35 | 220.87 | 600 | [5 empty] | OK — sources align | size-matched
| C-50-014 | HDPE 1200mm inlet piping - S+I | m | 1380 | 1995 | 1320 | 1938 | 1530 | 2242 | 1500 | 2052 | 1575 | 2565 | 1650 | 2470 | 1950 | 2945 | 1396.8 | - | - | 1205 | 2539.78 | 719.18 | 369.63 | 1500 | [5 empty] | OK — sources align | size-matched
| C-50-011 | HDPE 150mm DR11 above grade + insulation | m | 230 | 346 | 220 | 337 | 255 | 389 | 250 | 356 | 262 | 446 | 275 | 429 | 325 | 512 | 283.228 | - | - | 490 | 860.15 | 826.35 | 220.87 | 275 | [5 empty] | OK — sources align | size-matched
| C-50-012 | HDPE 200mm DR11 above grade + insulation | m | 271 | 399 | 260 | 388 | 301 | 448 | 295 | 410 | 310 | 513 | 324 | 494 | 384 | 589 | 283.228 | - | - | 490 | 860.15 | 826.35 | 220.87 | 275 | [5 empty] | OK — sources align | size-matched
| C-50-013 | HDPE 600mm DR17 above grade + insulation | m | 258 | 388 | 246 | 377 | 286 | 437 | 280 | 400 | 294 | 500 | 308 | 481 | 364 | 574 | 283.228 | - | - | 345 | 837.45 | 826.35 | 369.63 | 2400 | [5 empty] | OK — sources align | size-matched; category-fallback
F. Concrete
| C-60-004 | Concrete footing - continuous/isolated | m3 | 2208 | 3150 | 2112 | 3060 | 2448 | 3540 | 2400 | 3240 | 2520 | 4050 | 2640 | 3900 | 3120 | 4650 | 1148.75 | 2692.3 | - | 1885 | 4854.87 | 1803.8 | 10.7 | 9.5 | [5 empty] | OK — sources align | category-fallback
| C-60-003 | Concrete pier - drill+form+pour | m3 | 3312 | 4725 | 3168 | 4590 | 3672 | 5310 | 3600 | 4860 | 3780 | 6075 | 3960 | 5850 | 4680 | 6975 | 1680.65 | - | - | 1885 | 4854.87 | 1803.8 | 12.44 | 40 | [5 empty] | OK — sources align | category-fallback
| C-60-002 | Concrete wall and grade beam - S+pour+cure | m3 | 2300 | 3360 | 2200 | 3264 | 2550 | 3776 | 2500 | 3456 | 2625 | 4320 | 2750 | 4160 | 3250 | 4960 | - | 2692.3 | - | 1885 | 4854.87 | 1803.8 | — | — | [5 empty] | OK — sources align | category-fallback
| C-60-006 | Rebar Grade 400 - supply+install | tonne | 3680 | 6300 | 3520 | 6120 | 4080 | 7080 | 4000 | 6480 | 4200 | 8100 | 4400 | 7800 | 5200 | 9300 | 1000 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| C-60-005 | Shotcrete rock reinforcement 50mm | m2 | 83 | 147 | 79 | 143 | 92 | 165 | 90 | 151 | 94 | 189 | 99 | 182 | 117 | 217 | - | - | - | 16.6 | 5.68 | 10.86 | 1.4 | 5 | [5 empty] | OK — sources align | category-fallback
G. Steel
| C-70-006 | Handrail incl. toe plate and fasteners | m | 405 | 525 | 387 | 510 | 449 | 590 | 440 | 540 | 462 | 675 | 484 | 650 | 572 | 775 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| C-70-009 | Metal cladding 22ga prefinished - supply+erect | m2 | 244 | 336 | 233 | 326 | 270 | 378 | 265 | 346 | 278 | 432 | 292 | 416 | 344 | 496 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| C-70-008 | Metal roof deck 22ga 76mm - supply+erect | m2 | 294 | 399 | 282 | 388 | 326 | 448 | 320 | 410 | 336 | 513 | 352 | 494 | 416 | 589 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| C-70-007 | Stairs - stringers and treads | m | 497 | 651 | 475 | 632 | 551 | 732 | 540 | 670 | 567 | 837 | 594 | 806 | 702 | 961 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| C-70-003 | Steel beams heavy 66-125 kg/m - supply+erect | tonne | 6900 | 8925 | 6600 | 8670 | 7650 | 10030 | 7500 | 9180 | 7875 | 11475 | 8250 | 11050 | 9750 | 13175 | 6592.8009 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| C-70-002 | Steel beams medium 26-65 kg/m - supply+erect | tonne | 7360 | 9450 | 7040 | 9180 | 8160 | 10620 | 8000 | 9720 | 8400 | 12150 | 8800 | 11700 | 10400 | 13950 | 7443.5502 | - | - | — | — | — | 18 | — | — |  | — | — |  | Only 1/5 bidders priced — limited market signal | category-fallback |  |  | —
| C-70-004 | Steel columns extra-heavy - supply+erect | tonne | 7360 | 9450 | 7040 | 9180 | 8160 | 10620 | 8000 | 9720 | 8400 | 12150 | 8800 | 11700 | 10400 | 13950 | 6510.1384 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| C-70-005 | Steel grating 32x4.8mm - supply+install | m2 | 607 | 788 | 581 | 765 | 673 | 885 | 660 | 810 | 693 | 1013 | 726 | 975 | 858 | 1162 | 1000 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
H. Closure
| C-80-003 | Cover system compacted clay 600mm | m3 | 53 | 100 | 51 | 97 | 59 | 112 | 58 | 103 | 61 | 128 | 64 | 124 | 75 | 147 | - | - | - | 10.07 | 50.86 | 10.55 | 12.44 | 14.25 | [5 empty] | OK — sources align | size-matched
| C-80-005 | HDPE cap liner 2mm - supply+install+CQA | m2 | 28 | 50 | 26 | 49 | 31 | 57 | 30 | 52 | 32 | 65 | 33 | 62 | 39 | 74 | 13 | - | - | 30.6 | 36.27 | 19.18 | 2.3 | 20 | [5 empty] | OK — sources align | category-fallback; keyword-matched
| C-80-002 | Riprap closure cap D50 300mm - supply+place | m3 | 83 | 158 | 79 | 153 | 92 | 177 | 90 | 162 | 94 | 202 | 99 | 195 | 117 | 232 | 82899.8727 | - | - | 35.25 | 51.94 | 11.42 | 12.44 | 40 | [5 empty] | OK — sources align | size-matched
| C-80-004 | Topsoil replacement - spread+seed | m2 | 5 | 13 | 4 | 12 | 5 | 14 | 5 | 13 | 5 | 16 | 6 | 16 | 6 | 19 | 30000 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
I. Blasting
| B-01-004 | Controlled blasting near structures - presplit | m | 51 | 100 | 48 | 97 | 56 | 112 | 55 | 103 | 58 | 128 | 61 | 124 | 72 | 147 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| B-01-002 | Drill blast hole 89-115mm - rotary drill | m | 23 | 47 | 22 | 46 | 26 | 53 | 25 | 49 | 26 | 61 | 28 | 58 | 32 | 70 | 14800 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| B-01-003 | Rock blasting - drill+charge+blast+clear (all-in) | m3 | 41 | 89 | 40 | 87 | 46 | 100 | 45 | 92 | 47 | 115 | 50 | 110 | 58 | 132 | 14800 | - | - | 52.4 | 106.74 | 40.39 | 145.89 | 75 | [5 empty] | OK — sources align | category-fallback
| B-01-005 | Secondary breakage / pop shooting | ea | 230 | 578 | 220 | 561 | 255 | 649 | 250 | 594 | 262 | 742 | 275 | 715 | 325 | 852 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
J. Dewatering
| B-02-004 | Forcemain HDPE 150mm buried - S+I | m | 294 | 441 | 282 | 428 | 326 | 496 | 320 | 454 | 336 | 567 | 352 | 546 | 416 | 651 | 95164.608 | - | - | 204 | 1266.76 | 422.46 | 369.63 | 500 | [5 empty] | OK — sources align | size-matched; keyword-matched; category-fallback
| B-02-005 | Forcemain HDPE 200mm buried - S+I | m | 350 | 525 | 334 | 510 | 388 | 590 | 380 | 540 | 399 | 675 | 418 | 650 | 494 | 775 | 95164.608 | - | - | 490 | 1266.76 | 826.35 | 369.63 | 500 | [5 empty] | OK — sources align | category-fallback; keyword-matched
| B-02-003 | Submersible pump station - large >50 L/s | ea | 110400 | 262500 | 105600 | 255000 | 122400 | 295000 | 120000 | 270000 | 126000 | 337500 | 132000 | 325000 | 156000 | 387500 | 87518 | - | - | 17450 | — | — | — | — | — |  | — | — |  | Only 1/5 bidders priced — limited market signal | keyword-matched |  |  | —
| B-02-002 | Submersible pump station - small <50 L/s | ea | 41400 | 89250 | 39600 | 86700 | 45900 | 100300 | 45000 | 91800 | 47250 | 114750 | 49500 | 110500 | 58500 | 131750 | 87518 | - | - | 17450 | — | — | — | — | — |  | — | — |  | Only 1/5 bidders priced — limited market signal | keyword-matched |  |  | —
| B-02-006 | Wellpoint dewatering - install+operate 4wk | LS | 32200 | 68250 | 30800 | 66300 | 35700 | 76700 | 35000 | 70200 | 36750 | 87750 | 38500 | 84500 | 45500 | 100750 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
K. Buried Services
| B-03-006 | Concrete thrust block - supply+form+pour | ea | 1104 | 2625 | 1056 | 2550 | 1224 | 2950 | 1200 | 2700 | 1260 | 3375 | 1320 | 3250 | 1560 | 3875 | 550 | - | - | 13500 | 13822.43 | 6201.82 | — | 30000 | [5 empty] | OK — sources align | category-fallback
| B-03-007 | Gate valve 150mm buried - S+I | ea | 2024 | 3675 | 1936 | 3570 | 2244 | 4130 | 2200 | 3780 | 2310 | 4725 | 2420 | 4550 | 2860 | 5425 | 409404.8216 | - | - | 22700 | 2764.49 | 37517.91 | — | 5000 | [5 empty] | OK — sources align | category-fallback
| B-03-008 | Hydrant - supply+install | ea | 7820 | 14700 | 7480 | 14280 | 8670 | 16520 | 8500 | 15120 | 8925 | 18900 | 9350 | 18200 | 11050 | 21700 | 1000 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| B-03-005 | Sanitary manhole precast 1200mm - S+I | ea | 4140 | 7875 | 3960 | 7650 | 4590 | 8850 | 4500 | 8100 | 4725 | 10125 | 4950 | 9750 | 5850 | 11625 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| B-03-004 | Sanitary sewer PVC 150mm buried - S+I | m | 350 | 546 | 334 | 530 | 388 | 614 | 380 | 562 | 399 | 702 | 418 | 676 | 494 | 806 | 1160 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| B-03-002 | Water line HDPE 150mm buried - S+I | m | 350 | 525 | 334 | 510 | 388 | 590 | 380 | 540 | 399 | 675 | 418 | 650 | 494 | 775 | 243.8826 | - | - | 204 | 2539.78 | 422.46 | 369.63 | 1500 | [5 empty] | OK — sources align | size-matched; category-fallback
| B-03-003 | Water line HDPE 200mm buried - S+I | m | 414 | 651 | 396 | 632 | 459 | 732 | 450 | 670 | 472 | 837 | 495 | 806 | 585 | 961 | 243.8826 | - | - | 1205 | 2539.78 | 826.35 | 369.63 | 1500 | [5 empty] | OK — sources align | category-fallback
L. Concrete Paving
| B-04-003 | Concrete curb and gutter - S+F+P | m | 170 | 278 | 163 | 270 | 189 | 313 | 185 | 286 | 194 | 358 | 204 | 344 | 240 | 411 | - | 170.32 | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| B-04-002 | Concrete paving 250mm reinforced - S+P | m2 | 202 | 315 | 194 | 306 | 224 | 354 | 220 | 324 | 231 | 405 | 242 | 390 | 286 | 465 | 321.4181 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| B-04-004 | Concrete wheel wash pad - supply+construct | ea | 16560 | 36750 | 15840 | 35700 | 18360 | 41300 | 18000 | 37800 | 18900 | 47250 | 19800 | 45500 | 23400 | 54250 | - | - | - | 13500 | 13822.43 | 6201.82 | — | 30000 | [5 empty] | OK — sources align | category-fallback
M. Fencing
| B-05-002 | Chain link fence 2.4m security - S+I | m | 101 | 173 | 97 | 168 | 112 | 195 | 110 | 178 | 116 | 223 | 121 | 214 | 143 | 256 | - | - | - | 22.7 | 34.56 | 23.4 | 10.59 | 12 | [5 empty] | OK — sources align | category-fallback
| B-05-005 | Fence gate double swing 8m - S+I | ea | 3220 | 6825 | 3080 | 6630 | 3570 | 7670 | 3500 | 7020 | 3675 | 8775 | 3850 | 8450 | 4550 | 10075 | 3700 | - | - | 11900 | 2764.49 | 3203.53 | — | 5000 | [5 empty] | OK — sources align | category-fallback; keyword-matched
| B-05-004 | Fence gate single swing 4m - S+I | ea | 1656 | 3360 | 1584 | 3264 | 1836 | 3776 | 1800 | 3456 | 1890 | 4320 | 1980 | 4160 | 2340 | 4960 | 1540 | - | - | 22700 | 2764.49 | 37517.91 | — | 5000 | [5 empty] | OK — sources align | category-fallback
| B-05-003 | Wildlife exclusion fence 2.4m electrified | m | 152 | 273 | 145 | 265 | 168 | 307 | 165 | 281 | 173 | 351 | 182 | 338 | 214 | 403 | - | - | - | 22.7 | 34.56 | 23.4 | 10.59 | 12 | [5 empty] | OK — sources align | category-fallback
N. Signage/Traffic
| B-06-003 | Dust suppression - calcium chloride | tonne | 414 | 682 | 396 | 663 | 459 | 767 | 450 | 702 | 472 | 878 | 495 | 845 | 585 | 1008 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| B-06-002 | Traffic control flagging - per shift | shift | 782 | 1260 | 748 | 1224 | 867 | 1416 | 850 | 1296 | 892 | 1620 | 935 | 1560 | 1105 | 1860 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
O. Rock Anchors
| B-07-002 | Rock anchor active tensioned 32mm strand | ea | 2300 | 5775 | 2200 | 5610 | 2550 | 6490 | 2500 | 5940 | 2625 | 7425 | 2750 | 7150 | 3250 | 8525 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| B-07-004 | Shotcrete with fibre 75mm - supply+apply | m2 | 110 | 205 | 106 | 199 | 122 | 230 | 120 | 211 | 126 | 263 | 132 | 254 | 156 | 302 | - | - | - | 2.3 | — | — | — | 5 | [5 empty] | Only 2/5 bidders priced — limited market signal | category-fallback |  |  | —
| B-07-005 | Shotcrete with wire mesh 100mm - S+A | m2 | 152 | 262 | 145 | 255 | 168 | 295 | 165 | 270 | 173 | 338 | 182 | 325 | 214 | 388 | 7443.559 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| B-07-003 | Wire mesh rockfall protection - supply+pin | m2 | 60 | 126 | 57 | 122 | 66 | 142 | 65 | 130 | 68 | 162 | 72 | 156 | 84 | 186 | 7443.559 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
P. Culvert Structures
| B-08-004 | Headwall concrete - supply+form+pour | ea | 7820 | 16800 | 7480 | 16320 | 8670 | 18880 | 8500 | 17280 | 8925 | 21600 | 9350 | 20800 | 11050 | 24800 | - | - | - | 13500 | 13822.43 | 6201.82 | — | 30000 | [5 empty] | OK — sources align | category-fallback
| B-08-003 | Precast arch culvert 3000mm span - S+I | m | 4140 | 8925 | 3960 | 8670 | 4590 | 10030 | 4500 | 9180 | 4725 | 11475 | 4950 | 11050 | 5850 | 13175 | - | - | - | 1160 | 5426.83 | 4755.47 | 1812.2 | 9250 | [5 empty] | OK — sources align | keyword-matched
| B-08-002 | Precast box culvert 2400x1800mm - S+I | m | 5980 | 11025 | 5720 | 10710 | 6630 | 12390 | 6500 | 11340 | 6825 | 14175 | 7150 | 13650 | 8450 | 16275 | - | - | - | 1530 | 5426.83 | 4755.47 | 1553.31 | 9250 | [5 empty] | OK — sources align | category-fallback
Q. Crushing
| B-09-002 | Crushing Granular A/B (on-site portable plant) | tonne | 17 | 37 | 16 | 36 | 18 | 41 | 18 | 38 | 19 | 47 | 20 | 46 | 23 | 54 | - | - | 26.5 | 40.75 | 51.94 | 19.88 | 46.83 | 55 | [5 empty] | OK — sources align | category-fallback
| B-09-004 | Crushing fines / sand bedding (on-site) | tonne | 23 | 52 | 22 | 51 | 26 | 59 | 25 | 54 | 26 | 68 | 28 | 65 | 32 | 78 | 40 | - | - | — | — | — | 18 | — | — |  | — | — |  | Only 1/5 bidders priced — limited market signal | keyword-matched |  |  | —
| B-09-003 | Crushing riprap D50 150-600mm (on-site) | tonne | 20 | 47 | 19 | 46 | 22 | 53 | 22 | 49 | 23 | 61 | 24 | 58 | 29 | 70 | - | - | 33.5 | — | — | — | 10 | — | — |  | — | — |  | Only 1/5 bidders priced — limited market signal | size-matched |  |  | —
| B-09-007 | Mob/demob portable crushing plant 180-350 tph | LS | 138000 | 420000 | 132000 | 408000 | 153000 | 472000 | 150000 | 432000 | 157500 | 540000 | 165000 | 520000 | 195000 | 620000 | 52000 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| B-09-005 | Trucked-in Granular A - supply+haul 50km | tonne | 41 | 74 | 40 | 71 | 46 | 83 | 45 | 76 | 47 | 94 | 50 | 91 | 58 | 108 | - | - | - | 40.75 | 51.94 | 19.88 | 46.83 | 55 | [5 empty] | OK — sources align | category-fallback
| B-09-006 | Trucked-in riprap D50 300mm - supply+haul | tonne | 51 | 100 | 48 | 97 | 56 | 112 | 55 | 103 | 58 | 128 | 61 | 124 | 72 | 147 | - | 265.82 | - | — | — | — | 10 | — | — |  | — | — |  | Only 1/5 bidders priced — limited market signal | size-matched |  |  | —
R. Underground
| U-10-007 | Ground support - rock bolts 2.4m resin | ea | 78 | 173 | 75 | 168 | 87 | 195 | 85 | 178 | 89 | 223 | 94 | 214 | 110 | 256 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| U-10-008 | Ground support - shotcrete+mesh 75-100mm UG | m2 | 170 | 336 | 163 | 326 | 189 | 378 | 185 | 346 | 194 | 432 | 204 | 416 | 240 | 496 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| U-10-003 | Lateral development 5×5m drift - D&B+mucking | m | 5980 | 13125 | 5720 | 12750 | 6630 | 14750 | 6500 | 13500 | 6825 | 16875 | 7150 | 16250 | 8450 | 19375 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| U-10-011 | Mucking and tramming - UG 1-2 km | tonne | 17 | 34 | 16 | 33 | 18 | 38 | 18 | 35 | 19 | 43 | 20 | 42 | 23 | 50 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| U-10-005 | Raise bore 3m dia | m | 4140 | 8925 | 3960 | 8670 | 4590 | 10030 | 4500 | 9180 | 4725 | 11475 | 4950 | 11050 | 5850 | 13175 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| U-10-001 | Shaft sinking 6m dia - D&B incl. ground support | m | 32200 | 68250 | 30800 | 66300 | 35700 | 76700 | 35000 | 70200 | 36750 | 87750 | 38500 | 84500 | 45500 | 100750 | - | - | - | 490 | 1266.76 | 826.35 | — | 500 | [5 empty] | OK — sources align | category-fallback
| U-10-012 | Stope backfill - paste fill placement | m3 | 41 | 100 | 40 | 97 | 46 | 112 | 45 | 103 | 47 | 128 | 50 | 124 | 58 | 147 | 341.55 | - | - | 13.95 | 49.78 | 11.42 | 12.44 | 15 | [5 empty] | OK — sources align | keyword-matched
S. Tailings Dam
| T-20-005 | Dam raise - centerline per lift | m3 | 26 | 50 | 25 | 49 | 29 | 57 | 28 | 52 | 29 | 65 | 31 | 62 | 36 | 74 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| T-20-006 | Dam raise - downstream per lift | m3 | 23 | 44 | 22 | 43 | 26 | 50 | 25 | 45 | 26 | 57 | 28 | 55 | 32 | 65 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| T-20-010 | Inclinometer installation | ea | 7820 | 16800 | 7480 | 16320 | 8670 | 18880 | 8500 | 17280 | 8925 | 21600 | 9350 | 20800 | 11050 | 24800 | - | - | - | 82800 | 1266.76 | 103139.23 | — | 2500 | [5 empty] | OK — sources align | category-fallback
| T-20-007 | Internal drainage - chimney drain | m3 | 101 | 189 | 97 | 184 | 112 | 212 | 110 | 194 | 116 | 243 | 121 | 234 | 143 | 279 | 53 | - | - | 31.2 | 32.43 | 25.28 | 10.86 | 55 | [5 empty] | OK — sources align | category-fallback
| T-20-012 | Spillway - concrete-lined emergency overflow | m2 | 414 | 788 | 396 | 765 | 459 | 885 | 450 | 810 | 472 | 1013 | 495 | 975 | 585 | 1162 | 130000 | - | - | 1.1 | 1.39 | 1.14 | 2 | 1.6 | [5 empty] | OK — sources align | keyword-matched
| T-20-001 | Starter dam - Zone A core (low-perm clay) | m3 | 35 | 68 | 33 | 66 | 39 | 77 | 38 | 70 | 40 | 88 | 42 | 84 | 49 | 101 | - | - | - | 41.25 | 51.94 | 11.42 | 12.44 | 32 | [5 empty] | OK — sources align | category-fallback
| T-20-002 | Starter dam - Zone B filter fine | m3 | 51 | 100 | 48 | 97 | 56 | 112 | 55 | 103 | 58 | 128 | 61 | 124 | 72 | 147 | - | - | - | 41.25 | 51.94 | 11.42 | 12.44 | 32 | [5 empty] | OK — sources align | category-fallback
| T-20-003 | Starter dam - Zone C filter coarse | m3 | 60 | 121 | 57 | 117 | 66 | 136 | 65 | 124 | 68 | 155 | 72 | 150 | 84 | 178 | - | - | - | 41.25 | 51.94 | 11.42 | 12.44 | 32 | [5 empty] | OK — sources align | category-fallback
| T-20-004 | Starter dam - Zone D random rockfill | m3 | 20 | 40 | 19 | 39 | 22 | 45 | 22 | 41 | 23 | 51 | 24 | 49 | 29 | 59 | - | - | - | 6.2 | 49.78 | 11.42 | 12.44 | 13.5 | [5 empty] | OK — sources align | keyword-matched
| T-20-008 | Toe drain - supply+install w/ geotextile sock | m | 152 | 299 | 145 | 291 | 168 | 336 | 165 | 308 | 173 | 385 | 182 | 370 | 214 | 442 | 6 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| T-20-009 | VW piezometer installation | ea | 3220 | 6825 | 3080 | 6630 | 3570 | 7670 | 3500 | 7020 | 3675 | 8775 | 3850 | 8450 | 4550 | 10075 | - | - | - | 82800 | 1266.76 | 103139.23 | — | 2500 | [5 empty] | OK — sources align | category-fallback
T. Heap Leach
| H-30-006 | Drain rock cover 300mm - supply+place | m3 | 51 | 100 | 48 | 97 | 56 | 112 | 55 | 103 | 58 | 128 | 61 | 124 | 72 | 147 | 17.5 | - | - | 50.95 | 51.94 | 11.42 | 12.44 | 40 | [5 empty] | OK — sources align | size-matched
| H-30-010 | Drip irrigation network - S+I per ha | ha | 69000 | 147000 | 66000 | 142800 | 76500 | 165200 | 75000 | 151200 | 78750 | 189000 | 82500 | 182000 | 97500 | 217000 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| H-30-005 | Geonet drainage layer between liners - S+I | m2 | 17 | 29 | 16 | 29 | 18 | 33 | 18 | 30 | 19 | 38 | 20 | 36 | 23 | 43 | 13 | - | - | 30.6 | 10.11 | 19.18 | 0.83 | 20 | [5 empty] | OK — sources align | keyword-matched
| H-30-007 | HDPE perforated collection manifold 150-200mm - S+I | m | 202 | 378 | 194 | 367 | 224 | 425 | 220 | 389 | 231 | 486 | 242 | 468 | 286 | 558 | 53 | - | - | 204 | 2539.78 | 422.46 | 369.63 | 1500 | [5 empty] | OK — sources align | size-matched; category-fallback
| H-30-002 | Low-perm clay liner 300mm | m2 | 26 | 50 | 25 | 49 | 29 | 57 | 28 | 52 | 29 | 65 | 31 | 62 | 36 | 74 | - | - | - | 30.6 | 36.27 | 19.18 | 2.3 | 20 | [5 empty] | OK — sources align | category-fallback
| H-30-008 | PLS pond - multi-liner | m2 | 78 | 152 | 75 | 148 | 87 | 171 | 85 | 157 | 89 | 196 | 94 | 188 | 110 | 225 | 20 | - | - | 30.6 | 36.27 | 19.18 | 2.3 | 20 | [5 empty] | OK — sources align | keyword-matched
| H-30-001 | Pad sub-grade prep - cut/fill/compact 95% Proctor | m2 | 17 | 34 | 16 | 33 | 18 | 38 | 18 | 35 | 19 | 43 | 20 | 42 | 23 | 50 | 85 | - | - | 2.65 | 0.77 | 2.52 | 2.3 | 20 | [5 empty] | OK — sources align | category-fallback
| H-30-003 | Primary HDPE liner 80 mil - S+I+CQA | m2 | 29 | 58 | 28 | 56 | 33 | 65 | 32 | 59 | 34 | 74 | 35 | 72 | 42 | 85 | 15 | - | - | 30.6 | 36.27 | 19.18 | 2.3 | 20 | [5 empty] | OK — sources align | size-matched; category-fallback
| H-30-004 | Secondary HDPE liner 60 mil - S+I+CQA | m2 | 22 | 44 | 21 | 43 | 24 | 50 | 24 | 45 | 25 | 57 | 26 | 55 | 31 | 65 | 14.3 | - | - | 30.6 | 20.13 | 19.18 | 1.4 | 20 | [5 empty] | OK — sources align | size-matched; category-fallback
| H-30-009 | Solution piping HDPE 200mm - S+I | m | 271 | 467 | 260 | 454 | 301 | 525 | 295 | 481 | 310 | 601 | 324 | 578 | 384 | 690 | 1396.8 | - | - | 1205 | 2539.78 | 719.18 | 369.63 | 1500 | [5 empty] | OK — sources align | keyword-matched
U. Process Plant
| P-40-005 | Conveyor gallery footings | ea | 11040 | 23100 | 10560 | 22440 | 12240 | 25960 | 12000 | 23760 | 12600 | 29700 | 13200 | 28600 | 15600 | 34100 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| P-40-006 | Conveyor head pulley structure | ea | 41400 | 99750 | 39600 | 96900 | 45900 | 112100 | 45000 | 102600 | 47250 | 128250 | 49500 | 123500 | 58500 | 147250 | - | - | - | 13500 | 13822.43 | 6201.82 | — | 30000 | [5 empty] | OK — sources align | category-fallback
| P-40-009 | Flotation cell foundation | m2 | 262 | 472 | 251 | 459 | 291 | 531 | 285 | 486 | 299 | 608 | 314 | 585 | 370 | 698 | - | - | - | 2.65 | 0.77 | 2.52 | 2.3 | 20 | [5 empty] | OK — sources align | category-fallback
| P-40-002 | Mill foundation - ball mill | m3 | 2438 | 3675 | 2332 | 3570 | 2703 | 4130 | 2650 | 3780 | 2782 | 4725 | 2915 | 4550 | 3445 | 5425 | 5330591.689 | - | - | 11.3 | 17.2 | 8.79 | 11.31 | 4.25 | [5 empty] | OK — sources align | category-fallback
| P-40-001 | Mill foundation - large mat (SAG) | m3 | 2576 | 3990 | 2464 | 3876 | 2856 | 4484 | 2800 | 4104 | 2940 | 5130 | 3080 | 4940 | 3640 | 5890 | - | - | - | 11.3 | 17.2 | 8.79 | 11.31 | 4.25 | [5 empty] | OK — sources align | category-fallback
| P-40-007 | Ore stockpile reclaim tunnel | m | 16560 | 33600 | 15840 | 32640 | 18360 | 37760 | 18000 | 34560 | 18900 | 43200 | 19800 | 41600 | 23400 | 49600 | 3800000 | - | - | 415 | 85.97 | 1193.04 | — | 450 | [5 empty] | OK — sources align | category-fallback
| P-40-003 | Primary crusher foundation - pier+mat | m3 | 2944 | 4725 | 2816 | 4590 | 3264 | 5310 | 3200 | 4860 | 3360 | 6075 | 3520 | 5850 | 4160 | 6975 | 7500000 | - | - | 30.15 | 4854.87 | 10.25 | 10.7 | 20 | [5 empty] | OK — sources align | category-fallback
| P-40-011 | Process building slab on grade 250mm | m2 | 179 | 299 | 172 | 291 | 199 | 336 | 195 | 308 | 205 | 385 | 215 | 370 | 254 | 442 | 947.0784 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| P-40-004 | SAG mill apron feeder pit | m3 | 2760 | 4410 | 2640 | 4284 | 3060 | 4956 | 3000 | 4536 | 3150 | 5670 | 3300 | 5460 | 3900 | 6510 | - | - | - | 2.8 | 10.01 | 8.79 | 11.31 | 4.25 | [5 empty] | OK — sources align | category-fallback
| P-40-010 | Tank farm secondary bund | m2 | 202 | 399 | 194 | 388 | 224 | 448 | 220 | 410 | 231 | 513 | 242 | 494 | 286 | 589 | - | - | - | 30.6 | 36.27 | 19.18 | 1.4 | 75 | [5 empty] | OK — sources align | category-fallback
| P-40-008 | Thickener foundation - ring beam + center column | ea | 165600 | 367500 | 158400 | 357000 | 183600 | 413000 | 180000 | 378000 | 189000 | 472500 | 198000 | 455000 | 234000 | 542500 | 1160.1173 | - | - | — | 4854.87 | — | — | — | — |  | — | — |  | Only 1/5 bidders priced — limited market signal | category-fallback |  |  | —
V. Pipeline
| SP-50-003 | HDPE slurry pipe 250mm SDR 11 - supply | m | 152 | 278 | 145 | 270 | 168 | 313 | 165 | 286 | 173 | 358 | 182 | 344 | 214 | 411 | 425.3632 | - | - | 490 | 889.13 | 826.35 | 220.87 | 500 | [5 empty] | OK — sources align | size-matched
| SP-50-004 | HDPE slurry pipe 400mm SDR 11 - supply | m | 354 | 651 | 339 | 632 | 393 | 732 | 385 | 670 | 404 | 837 | 424 | 806 | 500 | 961 | 425.3632 | - | - | 490 | 889.13 | 826.35 | 220.87 | 500 | [5 empty] | OK — sources align | size-matched
| SP-50-001 | Pipeline ROW clearing + grading per km | km | 25760 | 68250 | 24640 | 66300 | 28560 | 76700 | 28000 | 70200 | 29400 | 87750 | 30800 | 84500 | 36400 | 100750 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| SP-50-006 | Pipeline install incl. fusion/weld+lay | m | 129 | 252 | 123 | 245 | 143 | 283 | 140 | 259 | 147 | 324 | 154 | 312 | 182 | 372 | - | - | - | 123.95 | 595.41 | 327.77 | 132.1 | 600 | [5 empty] | OK — sources align | category-fallback
| SP-50-007 | Pipeline pigging launcher/receiver | ea | 78200 | 173250 | 74800 | 168300 | 86700 | 194700 | 85000 | 178200 | 89250 | 222750 | 93500 | 214500 | 110500 | 255750 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| SP-50-002 | Pipeline trench 1.5m depth - excavation only | m | 41 | 89 | 40 | 87 | 46 | 100 | 45 | 92 | 47 | 115 | 50 | 110 | 58 | 132 | - | - | - | 240 | 789.8 | 438 | 341.86 | 600 | [5 empty] | OK — sources align | category-fallback
| SP-50-008 | Pipeline valve station w/ concrete pad+fence | ea | 50600 | 120750 | 48400 | 117300 | 56100 | 135700 | 55000 | 124200 | 57750 | 155250 | 60500 | 149500 | 71500 | 178250 | 4731.1613 | - | - | 82800 | 13822.43 | 6201.82 | — | 16250 | [5 empty] | OK — sources align | category-fallback
| SP-50-010 | River/road crossing - HDD per m | m | 1104 | 2940 | 1056 | 2856 | 1224 | 3304 | 1200 | 3024 | 1260 | 3780 | 1320 | 3640 | 1560 | 4340 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| SP-50-005 | Steel slurry pipe 300mm Sch 80 | m | 414 | 756 | 396 | 734 | 459 | 850 | 450 | 778 | 472 | 972 | 495 | 936 | 585 | 1116 | 425.3632 | - | - | 290 | 414.67 | 1193.04 | 280.11 | 450 | [5 empty] | OK — sources align | size-matched
W. Bridges
| BR-60-004 | Bridge abutment - concrete CIP | m3 | 2576 | 4410 | 2464 | 4284 | 2856 | 4956 | 2800 | 4536 | 2940 | 5670 | 3080 | 5460 | 3640 | 6510 | - | - | - | 1885 | 4854.87 | 1803.8 | — | — | [5 empty] | OK — sources align | category-fallback
| BR-60-005 | Bridge pier - concrete CIP | m3 | 2944 | 5040 | 2816 | 4896 | 3264 | 5664 | 3200 | 5184 | 3360 | 6480 | 3520 | 6240 | 4160 | 7440 | 1680.65 | - | - | 1885 | 4854.87 | 1803.8 | — | — | [5 empty] | OK — sources align | category-fallback
| BR-60-002 | CIP concrete bridge 15-25m span - S+I | m2 deck | 4140 | 7875 | 3960 | 7650 | 4590 | 8850 | 4500 | 8100 | 4725 | 10125 | 4950 | 9750 | 5850 | 11625 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| BR-60-003 | Mine haul road bridge 30-50m - S+I | m2 deck | 5980 | 11550 | 5720 | 11220 | 6630 | 12980 | 6500 | 11880 | 6825 | 14850 | 7150 | 14300 | 8450 | 17050 | 26 | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| BR-60-001 | Modular steel bridge ≤20m span - S+I | ea | 165600 | 399000 | 158400 | 387600 | 183600 | 448400 | 180000 | 410400 | 189000 | 513000 | 198000 | 494000 | 234000 | 589000 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
X. Power Line
| EL-70-003 | Distribution pole foundation | ea | 1702 | 3675 | 1628 | 3570 | 1887 | 4130 | 1850 | 3780 | 1942 | 4725 | 2035 | 4550 | 2405 | 5425 | - | - | - | — | 4854.87 | — | — | — | — |  | — | — |  | Only 1/5 bidders priced — limited market signal | category-fallback |  |  | —
| EL-70-005 | Substation control building slab + foundation | m2 | 262 | 472 | 251 | 459 | 291 | 531 | 285 | 486 | 299 | 608 | 314 | 585 | 370 | 698 | 1500000 | - | - | 2.65 | 0.77 | 2.52 | 2.3 | 20 | [5 empty] | OK — sources align | category-fallback
| EL-70-006 | Substation grounding grid - copper mat | m2 | 17 | 34 | 16 | 33 | 18 | 38 | 18 | 35 | 19 | 43 | 20 | 42 | 23 | 50 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| EL-70-004 | Substation pad - granular + crushed surface | m2 | 51 | 94 | 48 | 92 | 56 | 106 | 55 | 97 | 58 | 122 | 61 | 117 | 72 | 140 | - | - | - | 30.6 | 36.27 | 19.18 | 2.3 | 20 | [5 empty] | OK — sources align | category-fallback
| EL-70-001 | Tower foundation 138 kV - pier | ea | 16560 | 33600 | 15840 | 32640 | 18360 | 37760 | 18000 | 34560 | 18900 | 43200 | 19800 | 41600 | 23400 | 49600 | - | - | - | — | 4854.87 | — | — | — | — |  | — | — |  | Only 1/5 bidders priced — limited market signal | category-fallback |  |  | —
| EL-70-002 | Tower foundation 240 kV - pier | ea | 23920 | 50400 | 22880 | 48960 | 26520 | 56640 | 26000 | 51840 | 27300 | 64800 | 28600 | 62400 | 33800 | 74400 | - | - | - | — | 4854.87 | — | — | — | — |  | — | — |  | Only 1/5 bidders priced — limited market signal | category-fallback |  |  | —
| EL-70-007 | Transmission line ROW clearing 50m per km | km | 32200 | 78750 | 30800 | 76500 | 35700 | 88500 | 35000 | 81000 | 36750 | 101250 | 38500 | 97500 | 45500 | 116250 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
Y. Hydraulic
| HY-80-001 | Diversion channel excavation common soil - trapezoidal | m3 | 17 | 34 | 16 | 33 | 18 | 38 | 18 | 35 | 19 | 43 | 20 | 42 | 23 | 50 | 8 | 8.2 | - | 9.95 | 14.4 | 9.44 | 10.7 | 10.5 | [5 empty] | OK — sources align | keyword-matched
| HY-80-002 | Diversion channel - riprap D50 150mm lining | m3 | 78 | 147 | 75 | 143 | 87 | 165 | 85 | 151 | 89 | 189 | 94 | 182 | 110 | 217 | - | 313.41 | - | 66.45 | 70.1 | 45.33 | 12.44 | 60 | [5 empty] | OK — sources align | size-matched
| HY-80-003 | Diversion channel - riprap D50 300mm lining | m3 | 97 | 184 | 92 | 178 | 107 | 206 | 105 | 189 | 110 | 236 | 116 | 228 | 136 | 271 | - | 265.82 | - | 33.23 | 61.02 | 27.5 | 12.44 | 40 | [5 empty] | OK — sources align | size-matched
| HY-80-004 | Diversion channel - riprap D50 600mm lining | m3 | 124 | 231 | 119 | 224 | 138 | 260 | 135 | 238 | 142 | 297 | 148 | 286 | 176 | 341 | - | - | - | 66.45 | 85.97 | 13.85 | 9.42 | 60 | [5 empty] | OK — sources align | size-matched
| HY-80-009 | Diversion ditch - small unlined common section | m | 23 | 47 | 22 | 46 | 26 | 53 | 25 | 49 | 26 | 61 | 28 | 58 | 32 | 70 | - | - | - | — | — | — | — | — | — | — | — | — |  | No bidder data; SME only | no match |  |  | —
| HY-80-007 | Diversion inlet - concrete + trash rack | ea | 59800 | 141750 | 57200 | 137700 | 66300 | 159300 | 65000 | 145800 | 68250 | 182250 | 71500 | 175500 | 84500 | 209250 | - | - | - | 13500 | 13822.43 | 6201.82 | — | 30000 | [5 empty] | OK — sources align | category-fallback
| HY-80-005 | Energy dissipator - concrete chute w/ baffles | m3 | 2392 | 4410 | 2288 | 4284 | 2652 | 4956 | 2600 | 4536 | 2730 | 5670 | 2860 | 5460 | 3380 | 6510 | 19.657 | - | - | 66.45 | 70.1 | 45.33 | 9.42 | 60 | [5 empty] | OK — sources align | keyword-matched
| HY-80-008 | Geotextile underlayer under riprap | m2 | 5 | 9 | 4 | 9 | 5 | 11 | 5 | 10 | 5 | 12 | 6 | 12 | 6 | 14 | - | - | - | 16.6 | 5.68 | 10.86 | 1.4 | 5 | [5 empty] | OK — sources align | category-fallback
| HY-80-006 | Spillway weir - concrete crest w/ rebar | m3 | 2622 | 4725 | 2508 | 4590 | 2907 | 5310 | 2850 | 4860 | 2992 | 6075 | 3135 | 5850 | 3705 | 6975 | - | - | - | 1885 | 4854.87 | 1803.8 | 11.31 | 40 | [5 empty] | OK — sources align | category-fallback

## 02 Equipment Rates
EQUIPMENT HOURLY RATES - Canada-wide 2026 (fully operated $/hr CAD)
Hourly equipment rates by region. Anchored to Rick Q2 2026 operator intel (tandem $150/hr, wiggle wagon $200/hr). Base rates from RMM Rev 5 Sheet 06.
IDENTIFICATION |  |  | ATLANTIC (NL / NS) |  |  |  | CENTRAL (ON / MB-SK) |  |  |  | WESTERN (AB / BC) |  |  |  | NORTHERN (YT/NWT) |  | ANCHORS (Rick / GHD) |  | FLEET CHARACTERISTICS |  |  | NOTES
Cat | Equipment | Size / Capacity | NL Low | NL High | NS Low | NS High | ON Low | ON High | MB/SK Low | MB/SK High | AB Low | AB High | BC Low | BC High | YT Low | YT High | Rick Q2 2026 | GHD Goldboro implied | Fuel L/hr | Mob/Demob | Avail % | Notes
HT | Tandem dump truck | 18-20T | 129 | 173 | 123 | 168 | 143 | 195 | 140 | 178 | 147 | 223 | 154 | 214 | 182 | 256 | 150 | see scope rate | 45-65 | Required | 85% | Standard short-haul; operator included
HT | Tri-axle dump truck | 25T | 143 | 189 | 136 | 184 | 158 | 212 | 155 | 194 | 163 | 243 | 170 | 234 | 202 | 279 | - | see scope rate | 55-75 | Required | 85% | Mid-size haul; operator included
HT | Wiggle wagon / Super B | 45T | 170 | 226 | 163 | 219 | 189 | 254 | 185 | 232 | 194 | 290 | 204 | 280 | 240 | 333 | 200 | see scope rate | 65-90 | Required | 80% | Field confirmed Q2-2026 Rick intel
HT | Off-road haul truck | 40-100T | 294 | 525 | 282 | 510 | 326 | 590 | 320 | 540 | 336 | 675 | 352 | 650 | 416 | 775 | - | see scope rate | 80-140 | Included | 85% | Mining-pit haul; Komatsu/CAT
EX | Hydraulic excavator Cat 320 | 20-25T | 230 | 346 | 220 | 337 | 255 | 389 | 250 | 356 | 262 | 446 | 275 | 429 | 325 | 512 | - | see scope rate | 18-25 | Required | 85% | Production dig/load
EX | Hydraulic excavator Cat 336 | 35-40T | 313 | 452 | 299 | 439 | 347 | 507 | 340 | 464 | 357 | 580 | 374 | 559 | 442 | 666 | - | see scope rate | 25-35 | Required | 85% | Bulk earthworks / rock
EX | Hydraulic excavator Cat 390 | 50-65T | 423 | 609 | 405 | 592 | 469 | 684 | 460 | 626 | 483 | 783 | 506 | 754 | 598 | 899 | - | see scope rate | 38-50 | Required | 82% | Mass excavation
EX | Long-reach excavator | 20T 18m | 267 | 399 | 255 | 388 | 296 | 448 | 290 | 410 | 304 | 513 | 319 | 494 | 377 | 589 | - | see scope rate | 18-25 | Required | 82% | Pond, ditch, shoreline
DO | Track dozer Cat D6N | 17T | 230 | 336 | 220 | 326 | 255 | 378 | 250 | 346 | 262 | 432 | 275 | 416 | 325 | 496 | - | see scope rate | 20-30 | Required | 88% | Clear, rough grade, push
DO | Track dozer Cat D8T | 37T | 350 | 504 | 334 | 490 | 388 | 566 | 380 | 518 | 399 | 648 | 418 | 624 | 494 | 744 | - | see scope rate | 35-48 | Required | 88% | Production push, rip rock
DO | Track dozer Cat D10T | 58T | 478 | 682 | 458 | 663 | 530 | 767 | 520 | 702 | 546 | 878 | 572 | 845 | 676 | 1008 | - | see scope rate | 50-68 | Required | 85% | Mass earthworks / stripping
GR | Motor grader Cat 140M | - | 258 | 378 | 246 | 367 | 286 | 425 | 280 | 389 | 294 | 486 | 308 | 468 | 364 | 558 | - | see scope rate | 18-26 | Required | 88% | Road maint, final grade
GR | Motor grader Cat 16M | large | 331 | 472 | 317 | 459 | 367 | 531 | 360 | 486 | 378 | 608 | 396 | 585 | 468 | 698 | - | see scope rate | 22-32 | Required | 88% | Large platform grading
CP | Vib roller Cat CS56B | 12T | 184 | 284 | 176 | 275 | 204 | 319 | 200 | 292 | 210 | 364 | 220 | 351 | 260 | 418 | - | see scope rate | 15-22 | Required | 88% | 200-300mm lift compaction
CP | Padfoot compactor CS74B | 17T | 221 | 326 | 211 | 316 | 245 | 366 | 240 | 335 | 252 | 418 | 264 | 403 | 312 | 480 | - | see scope rate | 18-26 | Required | 88% | Cohesive soil
CP | Plate compactor / jumping jack | 0.5-1T | 41 | 79 | 40 | 76 | 46 | 88 | 45 | 81 | 47 | 101 | 50 | 98 | 58 | 116 | - | see scope rate | 5-8 | By truck | 90% | Trench zones, tight access
WL | Wheel loader Cat 930M | 10T | 184 | 284 | 176 | 275 | 204 | 319 | 200 | 292 | 210 | 364 | 220 | 351 | 260 | 418 | - | see scope rate | 18-26 | Required | 87% | Aggregate load, general
WL | Wheel loader Cat 950M | 16T | 230 | 336 | 220 | 326 | 255 | 378 | 250 | 346 | 262 | 432 | 275 | 416 | 325 | 496 | - | see scope rate | 22-30 | Required | 87% | General load-out
WL | Wheel loader Cat 980M | 22T | 294 | 420 | 282 | 408 | 326 | 472 | 320 | 432 | 336 | 540 | 352 | 520 | 416 | 620 | - | see scope rate | 28-38 | Required | 87% | High production
DR | Rotary drill rig (Atlas) | 120mm hole | 506 | 788 | 484 | 765 | 561 | 885 | 550 | 810 | 578 | 1013 | 605 | 975 | 715 | 1162 | - | see scope rate | 35-50 | Included | 80% | Blast hole drilling
SK | Skid steer Cat 262D | - | 87 | 142 | 84 | 138 | 97 | 159 | 95 | 146 | 100 | 182 | 105 | 176 | 124 | 209 | - | see scope rate | 10-15 | By truck | 90% | Tight access, site clean
WP | Diesel submersible pump | 4-inch 150mm | 51 | 89 | 48 | 87 | 56 | 100 | 55 | 92 | 58 | 115 | 61 | 110 | 72 | 132 | - | see scope rate | 10-16 | By truck | 90% | Site dewatering
WP | Diesel submersible pump | 8-inch 200mm | 110 | 189 | 106 | 184 | 122 | 212 | 120 | 194 | 126 | 243 | 132 | 234 | 156 | 279 | - | see scope rate | 20-30 | By truck | 90% | Large dewatering
CR | Rough terrain crane Grove | RT 60T | 598 | 945 | 572 | 918 | 663 | 1062 | 650 | 972 | 682 | 1215 | 715 | 1170 | 845 | 1395 | - | see scope rate | 30-45 | Required | 80% | Lifts, precast, equip set
CR | Lattice boom crawler crane | Liebherr 150T | 1656 | 2730 | 1584 | 2652 | 1836 | 3068 | 1800 | 2808 | 1890 | 3510 | 1980 | 3380 | 2340 | 4030 | - | see scope rate | 60-90 | Included | 78% | Heavy lift; 4hr min call-out
MI | Rock breaker / hyd hammer | Cat 345 + hammer | 442 | 651 | 422 | 632 | 490 | 732 | 480 | 670 | 504 | 837 | 528 | 806 | 624 | 961 | - | see scope rate | 28-40 | Required | 80% | Rock fragmentation
MI | Air compressor diesel | 375 cfm | 69 | 116 | 66 | 112 | 76 | 130 | 75 | 119 | 79 | 148 | 82 | 143 | 98 | 170 | - | see scope rate | 12-18 | By truck | 90% | Drill assist, pneumatics
MI | Light tower diesel | 8-10 kW | 32 | 58 | 31 | 56 | 36 | 65 | 35 | 59 | 37 | 74 | 38 | 72 | 46 | 85 | - | see scope rate | 5-8 | By truck | 95% | Nightshift / portal safety
MI | Fuel tanker site supply | 10,000L | 166 | 262 | 158 | 255 | 184 | 295 | 180 | 270 | 189 | 338 | 198 | 325 | 234 | 388 | - | see scope rate | 30-40 | Required | 90% | Operator included
MI | Water truck dust suppression | 10,000L | 147 | 231 | 141 | 224 | 163 | 260 | 160 | 238 | 168 | 297 | 176 | 286 | 208 | 341 | - | see scope rate | 30-40 | Required | 90% | Operator included
EQUIPMENT CATEGORY KEY
HT | Hauling Trucks
EX | Excavators
DO | Dozers
GR | Motor Graders
CP | Compaction
WL | Wheel Loaders
DR | Drill Rigs
SK | Skid Steers
WP | Water Pumps
CR | Cranes
MI | Miscellaneous / Site Support

## 03 Regional Adjustors
REGIONAL ADJUSTOR FACTORS - Canada 2026
Multiplier on Canada-wide BASE rate (MB/SK is baseline = 1.00 factor). Apply to RMM Rev 5 SME ranges.
Code | Region | Factor Low | Factor High | Basis / Notes
NL | Newfoundland & Labrador | 0.92 | 1.05 | Atlantic NL+Labrador. Tight labour pool (Stats Can Q1 2026 flagged Atlantic skill shortage); accessible coastal NL slightly above NS.
NS | Nova Scotia (Atlantic accessible) | 0.88 | 1.02 | Atlantic NS - accessible drive-in. Baseline for GHD Goldboro 2026 vendor pricing. Lower than mining-civil Tier 2 baseline because no remote camp.
NB | New Brunswick | 0.9 | 1.05 | New Brunswick - similar to NS. Slightly less competitive contractor pool.
QC | Quebec (Montreal to N. Quebec) | 1.03 | 1.22 | Quebec - Montreal close to ON; Northern QC (Chibougamau / James Bay) major remote premium.
ON | Ontario (S. Ontario to N. ON) | 1.02 | 1.18 | Greater Toronto / Ottawa baseline. Northern ON (Thunder Bay / Sudbury) similar to ON low.
MBSK | Manitoba / Saskatchewan (baseline) | 1 | 1.08 | Prairies - open shop market; baseline 1.00 for this manual.
AB | Alberta (Edmonton to Oil Sands) | 1.05 | 1.35 | Edmonton/Calgary mid-range; Oil Sands / Fort McMurray hits 1.35 ceiling.
BC | British Columbia (Metro to Interior) | 1.1 | 1.3 | Metro Vancouver labour premium (IBEW/UA rates). Northern BC + winter factor 1.30 ceiling.
YT | Yukon / NWT / Nunavut (fly-in) | 1.3 | 1.55 | Extreme remote; fly-in; northern allowances; sealift to NU coastal hits 1.55+.

## 04 Vetting Workflow
BIDDER VETTING WORKFLOW - using this benchmark
How to use the Rate Schedule to push back on out-of-range bidder submissions.
Step | Action | Detail
1 | Issue this file with tender package | Send to all bidders BEFORE they price. Makes clear what 2026 market data you're holding against their submission. Sets the tone that you have benchmark and will use it.
2 | Receive bidder submissions | Each bidder fills the Goldboro / equivalent template. Pull each bidder's unit rate per line item.
3 | Open Tab '01 Rate Schedule' | Find the corresponding canonical item. Read off the regional column matching the project location.
4 | Compare bidder rate vs your regional range | If bidder rate is WITHIN your regional Low-High range → accept (within market). If OUTSIDE the range → continue.
5 | Check anchors before challenging | If bidder rate is between your regional range AND the closest anchor (GHD Goldboro / AB UPA / bidder median from another tender) → it's defensible. If bidder rate is outside ALL anchors → flag for clarification.
6 | Compose clarification letter | Use template: 'Item [X], your unit rate is $[Y]. Our 2026 benchmark range for [region] is $[Low]-$[High], supported by GHD Goldboro 2026 vendor quotes at $[Z] and Goldboro C5027 bidder median at $[W]. Please confirm scope is per spec and re-submit OR provide written justification for delta.'
7 | Track responses and re-level bids | Build a simple deviations log. Re-level bids against normalized scope. The bidder with lowest re-leveled total + no scope drops = the right award.
8 | Update this benchmark after award | Once a project closes, add the awarded rate as a new anchor. The benchmark gets stronger every project.

## 05 Sources & Methodology
SOURCES & METHODOLOGY - Source Provenance and Data References
Cite-able provenance for every figure in this workbook. Defensibility under Ausenco / NexGold / EPCM review.
1. PRIMARY 2026 DATA SOURCES
Source | What it is | URL / File reference | Used in
Statistics Canada Q1 2026 BCPI | Q1 2026 Building Construction Price Index release (Apr 28, 2026). Non-residential +3.6% YoY; +0.5% QoQ. Atlantic permit values +16.8%. Steel surtax impact flagged. Skilled labour shortage in Atlantic + Prairie. | https://www150.statcan.gc.ca/n1/daily-quotidien/260428/dq260428b-eng.htm | Sheet 03 regional context; escalation
Statistics Canada BCPI dataset | Quarterly BCPI by metro by building type. Live data refresh. | https://www150.statcan.gc.ca/t1/tbl1/en/tv.action?pid=1810028901 | Re-baseline trigger
Alberta Transportation 2026 UPA | Weighted average of 3 low bids on highway tenders awarded May 1, 2024 – Sep 30, 2025. 190 priced items, regional breakdown. Public dataset (XLSX). | https://www.alberta.ca/system/files/custom_downloaded_images/trans-unit-price-averages.xlsx | Sheet 01 AB UPA anchor column
Alberta Transportation - Unit Prices & Cost Adjustments page | Live diesel cost adjustment tables (rack rates, Stats Can index). | https://www.alberta.ca/unit-prices-and-cost-adjustments | Diesel reference
BC Road Builders - Tender Report | BC highway / civil tender awards (Peter's Bros, W.E. Stone, LaPrairie). Feb-Apr 2026 awards. | https://www.roadbuilders.bc.ca/tender-report/ | BC cross-check
NRCan - Diesel Prices | Weekly diesel pricing by region. Atlantic NS $2.13-$2.21/L; AB $1.68-$1.78/L; BC Metro $2.15-$2.35/L (May 2026). | https://natural-resources.canada.ca/domestic-international-markets/diesel-prices | Fuel cost calibration
Bank of Canada - Exchange Rates | USD/CAD 1.36-1.37 (May 2026). Live daily. | https://www.bankofcanada.ca/rates/exchange/ | FX basis for imported equipment / materials
CBSA - Surtax Notices | Notices 24-26 and 25-22: 25% surtax on Chinese-origin structural steel and rebar (Oct 2024 ongoing). | https://www.cbsa-asfc.gc.ca/ | Steel / rebar pricing risk
Provincial WCB Tables | WCB / WSIB / CNESST / WorkSafeBC / WorkplaceNL labourer + driller rate groups. | https://www.worksafebc.com/ / https://www.wcb.ab.ca/ / https://www.wsib.ca/ etc. | Burden composite
CanadaBuys / MERX / SaskTenders / Manitoba Infrastructure | Public procurement portals for cross-Canada tender data. | https://canadabuys.canada.ca/ • https://www.merx.com/ • https://sasktenders.ca/ • https://www.gov.mb.ca/mti/contracts/bidresults.html | Cross-Canada cross-check
Natural Resources Canada - Mining Capex | Sectoral mining capex 2024-2025 macro context. $16.3B 2024, $16.5B 2025 outlook. | https://natural-resources.canada.ca/minerals-mining/mining-data-statistics-analysis/minerals-mining-publications/capital-expenditures | Macro market context
SEDAR+ - NI 43-101 Technical Reports | Public mining feasibility study filings (Springpole, Madsen, etc.) with aggregate capex. | https://www.sedarplus.ca/ | Aggregate capex sanity check
2. PROJECT-SPECIFIC SOURCES (Ausenco / NexGold Goldboro FS 2026)
Source | What it is | Where it lives | Used in
GHD Goldboro Project FS - Road & Pad MTO Table (Apr 14, 2026) | Rates tab: 1,399 rows / 832 unique priced items. Vendor-quoted from Dexter (earthworks), Armtec (CSP culverts), Atlantic Poly Liner (geomembrane), Fontaine (sluice gates), KSB (pumps). | Author file (proprietary, NDA basis) | Sheet 01 'GHD Goldboro 2026' anchor column (96 of 180 items matched)
GHD Goldboro Project FS - SW MTO Table (Apr 14, 2026) | Stormwater MTO breakdown. Drainage and ESC scope. | Author file (proprietary) | Cross-ref for SWM items
GHD Goldboro CAPEX-SW Estimate (Apr 14, 2026) | CAPEX + OPEX line entries. Indirects, EIP factors. | Author file (proprietary) | Indirect calibration
107206-EB-00000-31344-201_A - C5027 GHD/Ausenco MTO (Apr 14, 2026) | GHD-format Material Take-Off with WBS, commodity codes, DOR. 1,009-row MTO tab. | Author file (proprietary) | Sheet 01 WBS / commodity code framework reference
Goldboro C5027 Bidder Submissions - Bird (April 2026) | Bird Construction budgetary pricing submission on Ausenco-issued template. 835 line items / 702 priced. | Author file (proprietary) | Sheet 01 'Bidder Submissions' column
Goldboro C5027 Bidder Submissions - Dexter (April 2026) | Dexter Construction budgetary pricing. 835 line items / 673 priced. Atlantic NS specialist. | Author file (proprietary) | Sheet 01 'Bidder Submissions' column
Goldboro C5027 Bidder Submissions - GIP (April 2026) | Green Infrastructure Partners budgetary pricing. 835 line items / 670 priced. | Author file (proprietary) | Sheet 01 'Bidder Submissions' column
Goldboro C5027 Bidder Submissions - Greenfields (April 2026) | Greenfield Mining / Greenfields budgetary pricing. 835 line items / 566 priced. | Author file (proprietary) | Sheet 01 'Bidder Submissions' column
Goldboro C5027 Bidder Submissions - Nova (April 2026) | Nova Construction budgetary pricing. 835 line items / 634 priced. Atlantic NS contractor. | Author file (proprietary) | Sheet 01 'Bidder Submissions' column
3. AUTHOR / SME REFERENCES
Source | What it is | Where it lives | Used in
RMM Rev 5 Full Manual (RMM-CIVIL-CANADA-2026-MANUAL-REV5.xlsx) | Author's full 28-tab estimating standard: crews, labour, equipment, build-ups, indirects, escalation lanes, productivity factors, regional matrix, burden composite, Goldboro overlay tab, web sources tab. | Sister file in same folder (RMM-CIVIL-CANADA-2026-MANUAL-REV5.xlsx) | Methodology reference; this benchmark is operational distillation
Rick Miller Q2 2026 Market Intel - operator anchors | Tandem dump truck $150/hr; 45T wiggle wagon $200/hr; crushing 'through the roof' = Rev 5 reset $18-$45/t on-site, $45-$70/t trucked-in. | Author's own field intelligence | Sheet 01 'Rick Anchor' column; Sheet 02 Equipment Rates
Ausenco go-by Q2-2020 | EPCM benchmark estimator baseline that RMM Rev 5 escalated to 2026. | Author's reference (not for redistribution) | Sheet 01 base rates pre-escalation
4. METHODOLOGY NOTES
Aspect | Methodology
BASE RATE SOURCE | Each canonical scope item carries a Canada-wide base low/high range drawn from RMM Rev 5 Sheet 08 SoR Master. Base = MB/SK baseline.
REGIONAL ADJUSTMENT | Base rate multiplied by regional factor per Sheet 03: NL 0.92-1.05; NS 0.88-1.02; ON 1.02-1.18; MB/SK 1.00-1.08; AB 1.05-1.35; BC 1.10-1.30; YT/NWT 1.30-1.55.
GHD GOLDBORO MATCHING | Item descriptions keyword-matched (≥2 token overlap) against GHD Goldboro 832-item priced list. Where match found, GHD unit capex shown as anchor.
BIDDER MATCHING | Item descriptions keyword-matched (≥2 token overlap) against each of 5 bidders' MTO Earthworks submissions. Per-bidder median of top-3 matching items reported. Bidder Min / Median / Max computed across all 5 bidders' matched values.
AB UPA MATCHING | Narrow keyword match against ~12 Alberta UPA items where the description is unambiguously equivalent (e.g. CSP culvert 900mm, Granular base course, Asphalt Superpave).
RICK ANCHOR | Sparse population - only where author has provided specific Q2 2026 datapoints. Currently: crushing items (4 lines), tandem $150/hr, wiggle wagon $200/hr.
RECOMMENDED 2026 | Author's default working number = NS midpoint (Atlantic accessible drive-in). Project location-specific recommended value should override this default.
CONFIDENCE TIER | Computed per section in Sheet 06 Coverage Summary: HIGH = ≥1.5 real anchors per item; MED = ≥0.5; LOW = <0.5 (SME-only).
ESCALATION | Base 2020 rates escalated to 2026 per discipline-specific lanes (Sheet 03 RMM Rev 5 Manual): Labour x1.22; Diesel x1.60; Steel x1.45; Rebar x1.45; HDPE x1.40; Concrete x1.23; Aggregate x1.20; Equipment x1.30. Composite x1.27.
5. REVISION HISTORY
Rev | Date | Description | Prepared
V1 | Q2 2026 | Initial release - 180 line items × 7 regions, 6 tabs. | Rick Miller
V2 | Q2 2026 | Added: (a) Equipment Rates tab (30 items × 7 regions); (b) Sources & Methodology with data references; (c) Ausenco/NexGold prepared-for note; (d) decimal rounding fix; (e) reorganized to 8 tabs. | Rick Miller
V3 | Q2 2026 | Added: (a) Operational columns on Rate Schedule (Bidder Δ%, GHD Δ%, FLAG, Data QC); (b) Project Pricing rollup tab (paste quantities, get totals at Recommended rates); (c) Data Integrity QC tab (rates flagged where sources disagree >100%). Editorial cleanup of section formatting. | Rick Miller

## 06 Coverage Summary
COVERAGE BY SECTION
How many items have real anchor data vs SME-only - confidence tier per section.
Section | Items | GHD Anchor | Bidder Data | Confidence
A. Earthworks | 15 | 11 | 13 | HIGH
B. Water Mgmt | 10 | 8 | 9 | HIGH
C. Roads/Pads | 8 | 5 | 4 | MED
D. WRSA/TMF | 8 | 6 | 5 | MED
E. Drainage/Culverts | 15 | 11 | 7 | MED
F. Concrete | 5 | 3 | 1 | MED
G. Steel | 8 | 4 | 3 | MED
H. Closure | 4 | 3 | 2 | MED
I. Blasting | 4 | 2 | 1 | MED
J. Dewatering | 5 | 4 | 1 | MED
K. Buried Services | 7 | 6 | 2 | MED
L. Concrete Paving | 3 | 1 | 1 | MED
M. Fencing | 4 | 2 | 0 | MED
N. Signage/Traffic | 2 | 0 | 0 | LOW (SME only)
O. Rock Anchors | 4 | 2 | 1 | MED
P. Culvert Structures | 3 | 0 | 0 | LOW (SME only)
Q. Crushing | 6 | 2 | 2 | MED
R. Underground | 7 | 1 | 1 | LOW (SME only)
S. Tailings Dam | 11 | 3 | 3 | MED
T. Heap Leach | 10 | 8 | 5 | MED
U. Process Plant | 11 | 5 | 1 | MED
V. Pipeline | 9 | 4 | 3 | MED
W. Bridges | 5 | 2 | 0 | LOW (SME only)
X. Power Line | 7 | 1 | 0 | LOW (SME only)
Y. Hydraulic | 9 | 2 | 2 | LOW (SME only)

## 07 Project Pricing
PROJECT PRICING WORKSHEET - Quantities times Recommended Rates
Operational rollup tool. Enter project name, region, and quantities. Workbook returns Owner Opinion of Probable Cost at Recommended 2026 $/UOM rates from Sheet 01. Paste bidder unit rates alongside to see direct delta per line item and at project total. Use to set the owner estimate before issuing tender and to evaluate bid envelope after submissions arrive.
Project: | [Enter project - e.g. Goldboro C5027 Civil, Green Bay Civil Package, Goderich Underground] |  |  |  | Region: | [Pick: NL / NS / NB / QC / ON / MB-SK / AB / BC / YT-NWT]
Bidder: | [Enter bidder name - or leave blank for owner estimate only] |  |  |  | Date: | Q2 2026
Code | Description | UOM | Qty | REC $/UOM | Owner Total at REC | Bidder $/UOM | Bidder Total | Delta %
A. Earthworks
C-10-004 | Backfill Type 1 (<250mm) - spread and compact | m3 | 0 |  |  | 0
C-10-005 | Backfill Type 2 (<100mm) - spread and compact | m3 | 0 |  |  | 0
C-10-006 | Backfill Type 3 engineered - spread and compact | m3 | 0 |  |  | 0
C-10-003 | Backfill common - spread and compact | m3 | 0 |  |  | 0
C-10-014 | Cut-fill balanced earthworks - large-scale | m3 | 0 |  |  | 0
C-10-016 | Drill and blast holes only - excavation separate | m3 | 0 |  |  | 0
C-10-002 | Excavation common soil - load + haul 1-3 km | m3 | 0 |  |  | 0
C-10-009 | Granular A base (<19mm) - supply+place+compact | m3 | 0 |  |  | 0
C-10-010 | Granular B sub-base (<75mm) - supply+place+compact | m3 | 0 |  |  | 0
C-10-008 | Overburden strip - doze + rip + stockpile | m3 | 0 |  |  | 0
C-10-007 | Rock excavation - blasted and loaded to truck | m3 | 0 |  |  | 0
C-10-011 | Sand bedding layer - supply+place+compact | m3 | 0 |  |  | 0
C-10-013 | Seeding and restoration - hydraulic | m2 | 0 |  |  | 0
C-10-015 | Settling pond / water management excavation | m3 | 0 |  |  | 0
C-10-012 | Topsoil placement - supply+spread | m3 | 0 |  |  | 0
B. Water Mgmt
C-20-005 | Energy dissipator riprap - full S+P | m3 | 0 |  |  | 0
C-20-006 | Geotextile 10oz non-woven cushion - S+I | m2 | 0 |  |  | 0
C-20-007 | Geotextile 6oz non-woven separator - S+I | m2 | 0 |  |  | 0
C-20-002 | Riprap D50 150mm entrance/exit - supply+place | m3 | 0 |  |  | 0
C-20-003 | Riprap D50 300mm - supply+place | m3 | 0 |  |  | 0
C-20-004 | Riprap D50 600mm heavy - supply+place | m3 | 0 |  |  | 0
C-20-010 | Sediment dewatering bag - S+I | ea | 0 |  |  | 0
C-20-008 | Silt fence heavy duty - supply+install | m | 0 |  |  | 0
C-20-009 | Straw bale flow check dam - supply+install | m | 0 |  |  | 0
C-20-011 | Temp pump diesel submersible 8-wk rental | ea | 0 |  |  | 0
C. Roads/Pads
C-30-005 | Asphalt paving 50mm HL3 surface course | m2 | 0 |  |  | 0
C-30-007 | Equipment pad concrete 300mm slab on grade | m2 | 0 |  |  | 0
C-30-006 | Equipment pad granular 600mm - heavy duty | m2 | 0 |  |  | 0
C-30-008 | Geotextile separation under road base - S+I | m2 | 0 |  |  | 0
C-30-003 | Granular sub-base 300mm - supply+place+compact | m2 | 0 |  |  | 0
C-30-004 | Granular surface course 150mm - supply+place | m2 | 0 |  |  | 0
C-30-002 | Haul road - sub-grade preparation only | m2 | 0 |  |  | 0
C-30-009 | Road crown and ditching - motor grader finish | m | 0 |  |  | 0
D. WRSA/TMF
C-40-006 | Filter zone drainage blanket 19mm - supply+place | m3 | 0 |  |  | 0
C-40-007 | Geonet/geocomposite drainage layer - S+I | m2 | 0 |  |  | 0
C-40-005 | HDPE 1.5mm liner - full S+I+CQA | m2 | 0 |  |  | 0
C-40-004 | HDPE 2mm (80mil) liner - full S+I+CQA | m2 | 0 |  |  | 0
C-40-008 | Protective cover soil over liner - place+compact | m3 | 0 |  |  | 0
C-40-002 | TMF embankment common fill Zone A/B | m3 | 0 |  |  | 0
C-40-003 | TMF embankment random rockfill Zone C | m3 | 0 |  |  | 0
C-40-009 | TMF perimeter ditch - cut+shape+riprap lined | m | 0 |  |  | 0
E. Drainage/Culverts
C-50-004 | CSP culvert 1050mm - S+I+bedding | m | 0 |  |  | 0
C-50-005 | CSP culvert 1200mm - S+I+bedding | m | 0 |  |  | 0
C-50-002 | CSP culvert 750mm - S+I+bedding | m | 0 |  |  | 0
C-50-003 | CSP culvert 900mm - S+I+bedding | m | 0 |  |  | 0
C-50-009 | CSP flow guard 1200mm - S+I | ea | 0 |  |  | 0
C-50-006 | CSP flow guard 600mm - S+I | ea | 0 |  |  | 0
C-50-007 | CSP flow guard 750mm - S+I | ea | 0 |  |  | 0
C-50-008 | CSP flow guard 900mm - S+I | ea | 0 |  |  | 0
C-50-015 | Clear stone discharge pipe 450mm - S+I | m | 0 |  |  | 0
C-50-016 | Discharge trench clear stone - supply+place | m3 | 0 |  |  | 0
C-50-010 | HDPE 100mm DR11 buried - excav+install+BF | m | 0 |  |  | 0
C-50-014 | HDPE 1200mm inlet piping - S+I | m | 0 |  |  | 0
C-50-011 | HDPE 150mm DR11 above grade + insulation | m | 0 |  |  | 0
C-50-012 | HDPE 200mm DR11 above grade + insulation | m | 0 |  |  | 0
C-50-013 | HDPE 600mm DR17 above grade + insulation | m | 0 |  |  | 0
F. Concrete
C-60-004 | Concrete footing - continuous/isolated | m3 | 0 |  |  | 0
C-60-003 | Concrete pier - drill+form+pour | m3 | 0 |  |  | 0
C-60-002 | Concrete wall and grade beam - S+pour+cure | m3 | 0 |  |  | 0
C-60-006 | Rebar Grade 400 - supply+install | tonne | 0 |  |  | 0
C-60-005 | Shotcrete rock reinforcement 50mm | m2 | 0 |  |  | 0
G. Steel
C-70-006 | Handrail incl. toe plate and fasteners | m | 0 |  |  | 0
C-70-009 | Metal cladding 22ga prefinished - supply+erect | m2 | 0 |  |  | 0
C-70-008 | Metal roof deck 22ga 76mm - supply+erect | m2 | 0 |  |  | 0
C-70-007 | Stairs - stringers and treads | m | 0 |  |  | 0
C-70-003 | Steel beams heavy 66-125 kg/m - supply+erect | tonne | 0 |  |  | 0
C-70-002 | Steel beams medium 26-65 kg/m - supply+erect | tonne | 0 |  |  | 0
C-70-004 | Steel columns extra-heavy - supply+erect | tonne | 0 |  |  | 0
C-70-005 | Steel grating 32x4.8mm - supply+install | m2 | 0 |  |  | 0
H. Closure
C-80-003 | Cover system compacted clay 600mm | m3 | 0 |  |  | 0
C-80-005 | HDPE cap liner 2mm - supply+install+CQA | m2 | 0 |  |  | 0
C-80-002 | Riprap closure cap D50 300mm - supply+place | m3 | 0 |  |  | 0
C-80-004 | Topsoil replacement - spread+seed | m2 | 0 |  |  | 0
I. Blasting
B-01-004 | Controlled blasting near structures - presplit | m | 0 |  |  | 0
B-01-002 | Drill blast hole 89-115mm - rotary drill | m | 0 |  |  | 0
B-01-003 | Rock blasting - drill+charge+blast+clear (all-in) | m3 | 0 |  |  | 0
B-01-005 | Secondary breakage / pop shooting | ea | 0 |  |  | 0
J. Dewatering
B-02-004 | Forcemain HDPE 150mm buried - S+I | m | 0 |  |  | 0
B-02-005 | Forcemain HDPE 200mm buried - S+I | m | 0 |  |  | 0
B-02-003 | Submersible pump station - large >50 L/s | ea | 0 |  |  | 0
B-02-002 | Submersible pump station - small <50 L/s | ea | 0 |  |  | 0
B-02-006 | Wellpoint dewatering - install+operate 4wk | LS | 0 |  |  | 0
K. Buried Services
B-03-006 | Concrete thrust block - supply+form+pour | ea | 0 |  |  | 0
B-03-007 | Gate valve 150mm buried - S+I | ea | 0 |  |  | 0
B-03-008 | Hydrant - supply+install | ea | 0 |  |  | 0
B-03-005 | Sanitary manhole precast 1200mm - S+I | ea | 0 |  |  | 0
B-03-004 | Sanitary sewer PVC 150mm buried - S+I | m | 0 |  |  | 0
B-03-002 | Water line HDPE 150mm buried - S+I | m | 0 |  |  | 0
B-03-003 | Water line HDPE 200mm buried - S+I | m | 0 |  |  | 0
L. Concrete Paving
B-04-003 | Concrete curb and gutter - S+F+P | m | 0 |  |  | 0
B-04-002 | Concrete paving 250mm reinforced - S+P | m2 | 0 |  |  | 0
B-04-004 | Concrete wheel wash pad - supply+construct | ea | 0 |  |  | 0
M. Fencing
B-05-002 | Chain link fence 2.4m security - S+I | m | 0 |  |  | 0
B-05-005 | Fence gate double swing 8m - S+I | ea | 0 |  |  | 0
B-05-004 | Fence gate single swing 4m - S+I | ea | 0 |  |  | 0
B-05-003 | Wildlife exclusion fence 2.4m electrified | m | 0 |  |  | 0
N. Signage/Traffic
B-06-003 | Dust suppression - calcium chloride | tonne | 0 |  |  | 0
B-06-002 | Traffic control flagging - per shift | shift | 0 |  |  | 0
O. Rock Anchors
B-07-002 | Rock anchor active tensioned 32mm strand | ea | 0 |  |  | 0
B-07-004 | Shotcrete with fibre 75mm - supply+apply | m2 | 0 |  |  | 0
B-07-005 | Shotcrete with wire mesh 100mm - S+A | m2 | 0 |  |  | 0
B-07-003 | Wire mesh rockfall protection - supply+pin | m2 | 0 |  |  | 0
P. Culvert Structures
B-08-004 | Headwall concrete - supply+form+pour | ea | 0 |  |  | 0
B-08-003 | Precast arch culvert 3000mm span - S+I | m | 0 |  |  | 0
B-08-002 | Precast box culvert 2400x1800mm - S+I | m | 0 |  |  | 0
Q. Crushing
B-09-002 | Crushing Granular A/B (on-site portable plant) | tonne | 0 |  |  | 0
B-09-004 | Crushing fines / sand bedding (on-site) | tonne | 0 |  |  | 0
B-09-003 | Crushing riprap D50 150-600mm (on-site) | tonne | 0 |  |  | 0
B-09-007 | Mob/demob portable crushing plant 180-350 tph | LS | 0 |  |  | 0
B-09-005 | Trucked-in Granular A - supply+haul 50km | tonne | 0 |  |  | 0
B-09-006 | Trucked-in riprap D50 300mm - supply+haul | tonne | 0 |  |  | 0
R. Underground
U-10-007 | Ground support - rock bolts 2.4m resin | ea | 0 |  |  | 0
U-10-008 | Ground support - shotcrete+mesh 75-100mm UG | m2 | 0 |  |  | 0
U-10-003 | Lateral development 5×5m drift - D&B+mucking | m | 0 |  |  | 0
U-10-011 | Mucking and tramming - UG 1-2 km | tonne | 0 |  |  | 0
U-10-005 | Raise bore 3m dia | m | 0 |  |  | 0
U-10-001 | Shaft sinking 6m dia - D&B incl. ground support | m | 0 |  |  | 0
U-10-012 | Stope backfill - paste fill placement | m3 | 0 |  |  | 0
S. Tailings Dam
T-20-005 | Dam raise - centerline per lift | m3 | 0 |  |  | 0
T-20-006 | Dam raise - downstream per lift | m3 | 0 |  |  | 0
T-20-010 | Inclinometer installation | ea | 0 |  |  | 0
T-20-007 | Internal drainage - chimney drain | m3 | 0 |  |  | 0
T-20-012 | Spillway - concrete-lined emergency overflow | m2 | 0 |  |  | 0
T-20-001 | Starter dam - Zone A core (low-perm clay) | m3 | 0 |  |  | 0
T-20-002 | Starter dam - Zone B filter fine | m3 | 0 |  |  | 0
T-20-003 | Starter dam - Zone C filter coarse | m3 | 0 |  |  | 0
T-20-004 | Starter dam - Zone D random rockfill | m3 | 0 |  |  | 0
T-20-008 | Toe drain - supply+install w/ geotextile sock | m | 0 |  |  | 0
T-20-009 | VW piezometer installation | ea | 0 |  |  | 0
T. Heap Leach
H-30-006 | Drain rock cover 300mm - supply+place | m3 | 0 |  |  | 0
H-30-010 | Drip irrigation network - S+I per ha | ha | 0 |  |  | 0
H-30-005 | Geonet drainage layer between liners - S+I | m2 | 0 |  |  | 0
H-30-007 | HDPE perforated collection manifold 150-200mm - S+I | m | 0 |  |  | 0
H-30-002 | Low-perm clay liner 300mm | m2 | 0 |  |  | 0
H-30-008 | PLS pond - multi-liner | m2 | 0 |  |  | 0
H-30-001 | Pad sub-grade prep - cut/fill/compact 95% Proctor | m2 | 0 |  |  | 0
H-30-003 | Primary HDPE liner 80 mil - S+I+CQA | m2 | 0 |  |  | 0
H-30-004 | Secondary HDPE liner 60 mil - S+I+CQA | m2 | 0 |  |  | 0
H-30-009 | Solution piping HDPE 200mm - S+I | m | 0 |  |  | 0
U. Process Plant
P-40-005 | Conveyor gallery footings | ea | 0 |  |  | 0
P-40-006 | Conveyor head pulley structure | ea | 0 |  |  | 0
P-40-009 | Flotation cell foundation | m2 | 0 |  |  | 0
P-40-002 | Mill foundation - ball mill | m3 | 0 |  |  | 0
P-40-001 | Mill foundation - large mat (SAG) | m3 | 0 |  |  | 0
P-40-007 | Ore stockpile reclaim tunnel | m | 0 |  |  | 0
P-40-003 | Primary crusher foundation - pier+mat | m3 | 0 |  |  | 0
P-40-011 | Process building slab on grade 250mm | m2 | 0 |  |  | 0
P-40-004 | SAG mill apron feeder pit | m3 | 0 |  |  | 0
P-40-010 | Tank farm secondary bund | m2 | 0 |  |  | 0
P-40-008 | Thickener foundation - ring beam + center column | ea | 0 |  |  | 0
V. Pipeline
SP-50-003 | HDPE slurry pipe 250mm SDR 11 - supply | m | 0 |  |  | 0
SP-50-004 | HDPE slurry pipe 400mm SDR 11 - supply | m | 0 |  |  | 0
SP-50-001 | Pipeline ROW clearing + grading per km | km | 0 |  |  | 0
SP-50-006 | Pipeline install incl. fusion/weld+lay | m | 0 |  |  | 0
SP-50-007 | Pipeline pigging launcher/receiver | ea | 0 |  |  | 0
SP-50-002 | Pipeline trench 1.5m depth - excavation only | m | 0 |  |  | 0
SP-50-008 | Pipeline valve station w/ concrete pad+fence | ea | 0 |  |  | 0
SP-50-010 | River/road crossing - HDD per m | m | 0 |  |  | 0
SP-50-005 | Steel slurry pipe 300mm Sch 80 | m | 0 |  |  | 0
W. Bridges
BR-60-004 | Bridge abutment - concrete CIP | m3 | 0 |  |  | 0
BR-60-005 | Bridge pier - concrete CIP | m3 | 0 |  |  | 0
BR-60-002 | CIP concrete bridge 15-25m span - S+I | m2 deck | 0 |  |  | 0
BR-60-003 | Mine haul road bridge 30-50m - S+I | m2 deck | 0 |  |  | 0
BR-60-001 | Modular steel bridge ≤20m span - S+I | ea | 0 |  |  | 0
X. Power Line
EL-70-003 | Distribution pole foundation | ea | 0 |  |  | 0
EL-70-005 | Substation control building slab + foundation | m2 | 0 |  |  | 0
EL-70-006 | Substation grounding grid - copper mat | m2 | 0 |  |  | 0
EL-70-004 | Substation pad - granular + crushed surface | m2 | 0 |  |  | 0
EL-70-001 | Tower foundation 138 kV - pier | ea | 0 |  |  | 0
EL-70-002 | Tower foundation 240 kV - pier | ea | 0 |  |  | 0
EL-70-007 | Transmission line ROW clearing 50m per km | km | 0 |  |  | 0
Y. Hydraulic
HY-80-001 | Diversion channel excavation common soil - trapezoidal | m3 | 0 |  |  | 0
HY-80-002 | Diversion channel - riprap D50 150mm lining | m3 | 0 |  |  | 0
HY-80-003 | Diversion channel - riprap D50 300mm lining | m3 | 0 |  |  | 0
HY-80-004 | Diversion channel - riprap D50 600mm lining | m3 | 0 |  |  | 0
HY-80-009 | Diversion ditch - small unlined common section | m | 0 |  |  | 0
HY-80-007 | Diversion inlet - concrete + trash rack | ea | 0 |  |  | 0
HY-80-005 | Energy dissipator - concrete chute w/ baffles | m3 | 0 |  |  | 0
HY-80-008 | Geotextile underlayer under riprap | m2 | 0 |  |  | 0
HY-80-006 | Spillway weir - concrete crest w/ rebar | m3 | 0 |  |  | 0
PROJECT TOTAL
USE: (1) Enter project quantities in column E for items in scope. (2) Owner Total at REC (col G) gives owner estimate at Recommended 2026 rate. (3) Paste bidder unit rates in column H. (4) Delta % col J flags: RED at 25%+ over REC, YELLOW 10-25%, BLUE below REC. (5) Sort by Delta % descending to identify highest-impact line items for bidder pushback. (6) PROJECT TOTAL row shows owner estimate vs bidder envelope plus headline delta.

## 08 Data Integrity QC
DATA INTEGRITY QC - Rates Flagged for Source Review
Rates where GHD anchor or Bidder Med disagrees with Recommended by more than 100% - typically indicates unit-of-measure mismatch or scope misalignment between sources. These are the items to review BEFORE issuing this benchmark externally. Once UOM/scope is reconciled, either the Recommended rate stays as-is (the bidder/GHD source priced different scope) or the Recommended rate is revised.
Code | Description | UOM | Recommended | GHD Δ % | Bidder Δ % | Likely Issue
C-10-003 | Backfill common - spread and compact | m3 | 24 | 254.2% | 116.4% | GHD scope mismatch - verify scope inclusions
C-10-016 | Drill and blast holes only - excavation separate | m3 | 51.5 | 28638% | -77.77% | GHD likely different UOM (per-hole vs $/m3)
C-20-008 | Silt fence heavy duty - supply+install | m | 22.5 | 122.2% | 44344% | GHD scope mismatch - verify scope inclusions
C-20-009 | Straw bale flow check dam - supply+install | m | 26 | -5.637% | 38362% | Bidder priced different scope - clarify
C-20-011 | Temp pump diesel submersible 8-wk rental | ea | 8145 | 766.9% | - | GHD likely different UOM (per-hole vs $/m3)
C-30-007 | Equipment pad concrete 300mm slab on grade | m2 | 216.5 | 337.4% | 6210% | GHD scope mismatch - verify scope inclusions
C-30-004 | Granular surface course 150mm - supply+place | m2 | 26 | 3746% | 80.12% | GHD likely different UOM (per-hole vs $/m3)
C-40-008 | Protective cover soil over liner - place+compact | m3 | 36 | 142198% | 14.58% | GHD likely different UOM (per-hole vs $/m3)
C-50-016 | Discharge trench clear stone - supply+place | m3 | 148.5 | -15% | 179.5% | Bidder scope likely different - verify
C-50-010 | HDPE 100mm DR11 buried - excav+install+BF | m | 340.5 | 27848% | 0.3994% | GHD likely different UOM (per-hole vs $/m3)
C-50-011 | HDPE 150mm DR11 above grade + insulation | m | 278.5 | 1.698% | 138.1% | Bidder scope likely different - verify
C-50-012 | HDPE 200mm DR11 above grade + insulation | m | 324 | -12.58% | 104.7% | Bidder scope likely different - verify
C-50-013 | HDPE 600mm DR17 above grade + insulation | m | 311.5 | -9.076% | 112.9% | Bidder scope likely different - verify
C-60-006 | Rebar Grade 400 - supply+install | tonne | 4820 | -79.25% | 107.5% | Bidder scope likely different - verify
C-70-005 | Steel grating 32x4.8mm - supply+install | m2 | 673 | 48.59% | 1386% | Bidder priced different scope - clarify
C-80-002 | Riprap closure cap D50 300mm - supply+place | m3 | 116 | 71365% | -7.983% | GHD likely different UOM (per-hole vs $/m3)
C-80-004 | Topsoil replacement - spread+seed | m2 | 8 | 374900% | - | GHD likely different UOM (per-hole vs $/m3)
B-01-002 | Drill blast hole 89-115mm - rotary drill | m | 34 | 43429% | - | GHD likely different UOM (per-hole vs $/m3)
B-01-003 | Rock blasting - drill+charge+blast+clear (all-in) | m3 | 63.5 | 23207% | 581.1% | GHD likely different UOM (per-hole vs $/m3)
B-02-004 | Forcemain HDPE 150mm buried - S+I | m | 355 | 26707% | - | GHD likely different UOM (per-hole vs $/m3)
B-02-005 | Forcemain HDPE 200mm buried - S+I | m | 422 | 22451% | - | GHD likely different UOM (per-hole vs $/m3)
B-03-007 | Gate valve 150mm buried - S+I | ea | 2753 | 14771% | - | GHD likely different UOM (per-hole vs $/m3)
B-03-004 | Sanitary sewer PVC 150mm buried - S+I | m | 432 | 168.5% | - | GHD scope mismatch - verify scope inclusions
B-07-005 | Shotcrete with wire mesh 100mm - S+A | m2 | 200 | 3622% | - | GHD likely different UOM (per-hole vs $/m3)
B-07-003 | Wire mesh rockfall protection - supply+pin | m2 | 89.5 | 8217% | - | GHD likely different UOM (per-hole vs $/m3)
U-10-012 | Stope backfill - paste fill placement | m3 | 68.5 | 398.6% | -63.09% | GHD scope mismatch - verify scope inclusions
T-20-012 | Spillway - concrete-lined emergency overflow | m2 | 580.5 | 22294% | -98.16% | GHD likely different UOM (per-hole vs $/m3)
H-30-006 | Drain rock cover 300mm - supply+place | m3 | 72.5 | -75.86% | 101.2% | Bidder scope likely different - verify
H-30-001 | Pad sub-grade prep - cut/fill/compact 95% Proctor | m2 | 24.5 | 246.9% | -89.71% | GHD scope mismatch - verify scope inclusions
H-30-009 | Solution piping HDPE 200mm - S+I | m | 357 | 291.3% | - | GHD scope mismatch - verify scope inclusions
P-40-002 | Mill foundation - ball mill | m3 | 2951 | 180537% | - | GHD likely different UOM (per-hole vs $/m3)
P-40-007 | Ore stockpile reclaim tunnel | m | 24240 | 15577% | - | GHD likely different UOM (per-hole vs $/m3)
P-40-003 | Primary crusher foundation - pier+mat | m3 | 3703 | 202438% | 23030% | GHD likely different UOM (per-hole vs $/m3)
P-40-011 | Process building slab on grade 250mm | m2 | 231.5 | 309.1% | - | GHD scope mismatch - verify scope inclusions
SP-50-003 | HDPE slurry pipe 250mm SDR 11 - supply | m | 207.5 | 105% | - | GHD scope mismatch - verify scope inclusions
EL-70-005 | Substation control building slab + foundation | m2 | 355 | 422435% | - | GHD likely different UOM (per-hole vs $/m3)
TOTAL FLAGGED: 36 rates. ACTION: Before issuing this benchmark externally with a tender package, review these line items for UOM/scope alignment. Once verified, either confirm the Recommended rate stays right (bidder/GHD scope is different) or revise the Recommended rate. The benchmark gets stronger every project as scope mismatches are resolved.